## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-01-15
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 31211.34 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 12.01.2026 | 13.01.20262 | 14.01.2026 | 15.06.2026 | 16.01.2026 | 17.01.20262 | 18.01.2026
Min (MW) | 562.3905 | 539.2789 | 573.452 | 574.7759 | 574.9253 | 578.4007 | 575.7832
Max (MW) | 1404.0106 | 1513.2613 | 1541.9985 | 1543.1257 | 1497.2363 | 1457.3074 | 1387.9747
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-01-13
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 2088.4384 | 1141.255 | 947.1834
|  | 2 | 1961.1867 | 1122.033 | 839.1537
|  | 3 | 1897.4523 | 1125.027 | 772.4253
|  | 4 | 1891.3239 | 1150.59 | 740.7339
|  | 5 | 1898.2926 | 1166.249 | 732.0436
|  | 6 | 1925.6005 | 1119.367 | 806.2335
|  | 7 | 2139.5605 | 1105.425 | 1034.1355
|  | 8 | 2156.3999 | 798.15 | 1358.2499
|  | 9 | 2240.7405 | 749.11 | 1491.6305
|  | 10 | 2294.9558 | 779.086 | 1515.8698
|  | 11 | 2334.8205 | 862.291 | 1472.5295
|  | 12 | 2287.7824 | 822.863 | 1464.9194
|  | 13 | 2311.5249 | 822.55 | 1488.9749
|  | 14 | 2302.0027 | 750.591 | 1551.4117
|  | 15 | 2265.7326 | 668.391 | 1597.3416
|  | 16 | 2304.8814 | 695.401 | 1609.4804
|  | 17 | 2191.5321 | 535.35 | 1656.1821
|  | 18 | 2261.5987 | 520.915 | 1740.6837
|  | 19 | 2253.1421 | 509.611 | 1743.5311
|  | 20 | 2246.1 | 517.213 | 1728.887
|  | 21 | 2216.9663 | 519.158 | 1697.8083
|  | 22 | 2108.1176 | 533.236 | 1574.8816
|  | 23 | 2095.1099 | 718.671 | 1376.4389
|  | 24 | 2168.9183 | 1031.493 | 1137.4253
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 9.2907 | 229.8732 | 156.6875 | 381.2111 | 201.6672 | 151.7322
2 | 12.8489 | 229.9037 | 166.5077 | 336.2043 | 207.984 | 180.9833
3 | 16.7188 | 229.9435 | 168.7721 | 335.7592 | 213.7068 | 205.3804
4 | 18.108 | 218.5447 | 169.0705 | 332.7561 | 217.728 | 209.5105
5 | 16.693 | 209.7289 | 181.2606 | 324.7921 | 239.5599 | 194.2611
6 | 13.2018 | 219.2791 | 173.691 | 329.5499 | 200.8904 | 220.7497
7 | -1.9927 | 229.4531 | 127.523 | 356.1063 | 86.1827 | 217.688
8 | -26.9538 | 216.8266 | 94.1554 | 331.811 | 55.5959 | 15.1745
9 | -26.8688 | 233.3192 | 114.1755 | 357.2707 | 103.1117 | -45.4332
10 | -20.4033 | 240.0132 | 116.831 | 344.1554 | 115.9469 | -24.7855
11 | -14.9381 | 240.0337 | 136.9792 | 300.8904 | 129.8062 | -9.2123
12 | -12.3326 | 239.9784 | 161.1663 | 285.6624 | 180.8755 | -38.4646
13 | -9.7404 | 239.928 | 131.8734 | 288.2816 | 163.5299 | -7.6795
14 | -8.5117 | 239.9819 | 123.3997 | 302.7226 | 146.8723 | 10.1839
15 | -9.5616 | 239.9422 | 66.1874 | 351.6388 | 47.7819 | 98.3163
16 | -19.5084 | 239.955 | 26.5484 | 341.5781 | -50.1823 | 153.2779
17 | -35.607 | 200.4398 | -2.5469 | 311.1511 | -121.1616 | 84.4436
18 | -38.8867 | 239.1893 | 4.2553 | 323.5987 | -137.5396 | 68.4924
19 | -35.3764 | 235.199 | 22.8392 | 311.6639 | -184.7677 | 94.0572
20 | -41.2556 | 229.9378 | 32.4224 | 299.8324 | -158.1807 | 55.9513
21 | -48.8524 | 229.8676 | 28.2838 | 305.6353 | -107.399 | 14.5217
22 | -41.7041 | 229.9449 | 66.0036 | 275.8985 | -16.9613 | -34.9255
23 | -30.5172 | 229.9165 | 117.8713 | 261.022 | 136.4832 | -58.4879
24 | -2.3689 | 230.2259 | 172.7617 | 337.0752 | 204.3176 | 95.3216
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-01-15
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 2078.31
|  |  | 01:00 - 02:00 | 1963.14
|  |  | 02:00 - 03:00 | 1810.22
|  |  | 03:00 - 04:00 | 1793.38
|  |  | 04:00 - 05:00 | 1784.61
|  |  | 05:00 - 06:00 | 1841.44
|  |  | 06:00 - 07:00 | 1960.38
|  |  | 07:00 - 08:00 | 1931.05
|  |  | 08:00 - 09:00 | 2111.78
|  |  | 09:00 - 10:00 | 2133.75
|  |  | 10:00 - 11:00 | 2056.69
|  |  | 11:00 - 12:00 | 2052.91
|  |  | 12:00 - 13:00 | 2044.12
|  |  | 13:00 - 14:00 | 2063.77
|  |  | 14:00 - 15:00 | 2123.47
|  |  | 15:00 - 16:00 | 2142.18
|  |  | 16:00 - 17:00 | 1991.31
|  |  | 17:00 - 18:00 | 2149.76
|  |  | 18:00 - 19:00 | 2183.73
|  |  | 19:00 - 20:00 | 2155.49
|  |  | 20:00 - 21:00 | 2115.19
|  |  | 21:00 - 22:00 | 1976.51
|  |  | 22:00 - 23:00 | 1979.25
|  |  | 23:00 - 00:00 | 2102.86
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 115.2854 | 115.3888 | 119.8935 | 114.871 | 121.5926 | 114.5715 | 111.8643 | 100.8604
2 | 115.2468 | 115.4094 | 119.8351 | 114.8769 | 126.7474 | 0.89946 | 103.3146 | 105.2257
3 | 115.2608 | 115.4321 | 119.8599 | 114.8935 | 97.2253 | 0 | 89.4615 | 89.2905
4 | 103.8159 | 104.0273 | 108.7388 | 114.8771 | 89.1589 | 0 | 89.4186 | 89.1709
5 | 95.2026 | 95.1832 | 119.6504 | 114.8807 | 89.1422 | 0 | 89.4182 | 89.1702
6 | 104.5903 | 104.7594 | 110.3066 | 114.8729 | 99.076 | 0 | 113.1576 | 109.262
7 | 114.4897 | 114.9076 | 119.3133 | 114.9058 | 100.0879 | 49.8871 | 99.4319 | 126.779
8 | 108.4668 | 108.8632 | 113.4136 | 108.3194 | 93.0888 | 94.2924 | 94.3963 | 117.0708
9 | 114.9441 | 117.1106 | 120.0059 | 116.5852 | 138.6994 | 140.6132 | 138.7473 | 130.0511
10 | 114.9687 | 120.4896 | 119.9122 | 119.9217 | 143.3719 | 138.9538 | 138.9999 | 135.9219
11 | 115.0434 | 120.5109 | 119.9985 | 119.9432 | 29.2294 | 93.3713 | 142.1113 | 130.0699
12 | 115.05 | 120.4861 | 119.9959 | 119.9323 | 89.1415 | 0 | 124.8984 | 90.432
13 | 115.015 | 120.4534 | 119.9321 | 119.9153 | 89.1532 | 0 | 106.0946 | 110.3339
14 | 115.0181 | 120.5189 | 120.0208 | 119.9181 | 133.4669 | 1.3916 | 132.8367 | 103.7124
15 | 114.9907 | 120.4846 | 119.9588 | 119.9146 | 108.1053 | 118.1115 | 119.3001 | 94.4371
16 | 115.0077 | 120.4998 | 119.9191 | 119.9063 | 101.972 | 119.1334 | 109.344 | 113.8087
17 | 102.0725 | 102.3427 | 101.9758 | 101.8973 | 94.4751 | 93.0051 | 97.9321 | 120.3976
18 | 114.9561 | 120.4894 | 119.8928 | 119.758 | 124.9548 | 131.7673 | 117.2475 | 121.0231
19 | 114.9893 | 120.4274 | 115.2142 | 115.0765 | 138.3832 | 140.8375 | 141.617 | 121.0331
20 | 115.0297 | 115.4292 | 114.9514 | 114.8568 | 124.5259 | 128.9831 | 129.0235 | 110.8953
21 | 115.0131 | 115.4522 | 114.9748 | 114.8192 | 113.6195 | 128.6556 | 128.4154 | 101.3638
22 | 115.0008 | 115.4862 | 114.9781 | 114.8478 | 107.8577 | 113.8303 | 89.408 | 106.1716
23 | 115.0209 | 115.4832 | 114.9526 | 114.8173 | 99.3435 | 89.9086 | 89.7142 | 113.0671
24 | 115.0645 | 115.5518 | 115.3098 | 115.0463 | 118.2407 | 120.5537 | 122.8132 | 112.9124
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2699.543 | 2755.1869 | 2803.0041 | 2779.6529 | 2570.659 | 1818.7663 | 2718.9661 | 2642.4603
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1098 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1288 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 764.68 | 24.3613
|  | 2 | 670.67 | 25.6728
|  | 3 | 613.4 | 25.9765
|  | 4 | 589.35 | 29.1782
|  | 5 | 573.51 | 24.932
|  | 6 | 638.09 | 23.098
|  | 7 | 812.1 | 24.4225
|  | 8 | 1066.78 | 30.1696
|  | 9 | 1205.36 | 29.9896
|  | 10 | 1266.77 | 31.4367
|  | 11 | 1132.62 | 28.6549
|  | 12 | 1177.92 | 26.0659
|  | 13 | 1258.38 | 26.2732
|  | 14 | 1224.81 | 27.107
|  | 15 | 1244.85 | 29.7895
|  | 16 | 1225.35 | 31.1242
|  | 17 | 1212.57 | 31.4144
|  | 18 | 1328.64 | 34.564
|  | 19 | 1329.45 | 35.1381
|  | 20 | 1325.52 | 34.6459
|  | 21 | 1265.55 | 32.7923
|  | 22 | 1153.3 | 37.8308
|  | 23 | 994.12 | 37.3199
|  | 24 | 795.31 | 32.4867
|  | 25 | 755.39 | 20.747
|  | 26 | 677.81 | 19.2714
|  | 27 | 620.03 | 18.2252
|  | 28 | 597.94 | 18.2633
|  | 29 | 600.85 | 20.428
|  | 30 | 659.11 | 17.0132
|  | 31 | 833.61 | 17.9135
|  | 32 | 1037.23 | 18.8568
|  | 33 | 1186.08 | 21.6459
|  | 34 | 1256.53 | 26.4107
|  | 35 | 1279.53 | 27.9367
|  | 36 | 1284.82 | 27.8566
|  | 37 | 1254.78 | 27.0824
|  | 38 | 1240.01 | 28.1689
|  | 39 | 1255.63 | 28.0789
|  | 40 | 1277.61 | 28.8292
|  | 41 | 1319.6 | 30.894
|  | 42 | 1429.91 | 32.6533
|  | 43 | 1488.82 | 32.9617
|  | 44 | 1386.38 | 32.239
|  | 45 | 1342.27 | 31.525
|  | 46 | 1287.71 | 27.8831
|  | 47 | 1112.91 | 24.4064
|  | 48 | 917.39 | 21.9978
|  | 49 | 772.04 | 15.3862
|  | 50 | 682.15 | 12.8016
|  | 51 | 626.56 | 12.1144
|  | 52 | 606.11 | 13.3619
|  | 53 | 600.06 | 12.2123
|  | 54 | 649.3 | 11.4247
|  | 55 | 823.39 | 13.5813
|  | 56 | 1057.19 | 18.9038
|  | 57 | 1203.45 | 29.3869
|  | 58 | 1290.4 | 38.8618
|  | 59 | 1388.72 | 46.3739
|  | 60 | 1363.29 | 46.7789
|  | 61 | 1338.59 | 44.3552
|  | 62 | 1344.35 | 42.0456
|  | 63 | 1359.04 | 36.0553
|  | 64 | 1510.4 | 32.1884
|  | 65 | 1528.46 | 34.6499
|  | 66 | 1607.65 | 38.7509
|  | 67 | 1568.59 | 37.2375
|  | 68 | 1631.52 | 33.8378
|  | 69 | 1590.69 | 33.4583
|  | 70 | 1476.05 | 29.1021
|  | 71 | 1312.97 | 24.8645
|  | 72 | 1125.54 | 22.4515
|  | 73 | 828.21 | 18.4849
|  | 74 | 715.06 | 17.1645
|  | 75 | 663.41 | 15.7827
|  | 76 | 647.52 | 14.7456
|  | 77 | 648.9 | 14.0912
|  | 78 | 715.42 | 15.8864
|  | 79 | 919.27 | 18.3202
|  | 80 | 1201.35 | 21.3552
|  | 81 | 1339.19 | 26.5544
|  | 82 | 1434.54 | 31.7823
|  | 83 | 1487.55 | 44.0381
|  | 84 | 1509.88 | 47.0736
|  | 85 | 1553.11 | 45.8569
|  | 86 | 1602.24 | 44.0497
|  | 87 | 1606.31 | 37.6103
|  | 88 | 1516.29 | 34.704
|  | 89 | 1565.55 | 37.1956
|  | 90 | 1651.22 | 38.6513
|  | 91 | 1634.48 | 39.2577
|  | 92 | 1593.56 | 38.6223
|  | 93 | 1557.78 | 33.6649
|  | 94 | 1393.93 | 28.5229
|  | 95 | 1187.73 | 30.428
|  | 96 | 953.89 | 22.7374
|  | 97 | 828.25 | 22.2572
|  | 98 | 747.75 | 16.5222
|  | 99 | 660.42 | 13.3644
|  | 100 | 636.05 | 11.0909
|  | 101 | 645.7 | 11.1013
|  | 102 | 729.77 | 10.782
|  | 103 | 897.13 | 11.6229
|  | 104 | 1109.95 | 12.2785
|  | 105 | 1334.33 | 21.7269
|  | 106 | 1392.39 | 35.81
|  | 107 | 1456.63 | 32.6612
|  | 108 | 1471.06 | 30.2438
|  | 109 | 1458.54 | 28.7342
|  | 110 | 1469.64 | 23.0841
|  | 111 | 1468.29 | 19.6789
|  | 112 | 1457.46 | 24.3252
|  | 113 | 1502.18 | 31.4965
|  | 114 | 1578.4 | 35.6465
|  | 115 | 1629.12 | 37.7448
|  | 116 | 1591.89 | 36.2247
|  | 117 | 1531.34 | 35.4791
|  | 118 | 1442.26 | 32.6308
|  | 119 | 1279.65 | 25.913
|  | 120 | 1094.78 | 22.2
|  | 121 | 914.58 | 14.4307
|  | 122 | 791.32 | 12.1907
|  | 123 | 696.97 | 10.7641
|  | 124 | 662.04 | 9.9635
|  | 125 | 662.23 | 10.2479
|  | 126 | 710.13 | 11.1658
|  | 127 | 845.28 | 14.2559
|  | 128 | 1029.86 | 19.7653
|  | 129 | 1223.29 | 27.0841
|  | 130 | 1352.18 | 30.4127
|  | 131 | 1396.52 | 27.5494
|  | 132 | 1399.96 | 24.2094
|  | 133 | 1227.08 | 23.0156
|  | 134 | 1232.9 | 23.2136
|  | 135 | 1249.57 | 27.0292
|  | 136 | 1425.33 | 35.9118
|  | 137 | 1480.47 | 37.4931
|  | 138 | 1634.78 | 37.8385
|  | 139 | 1660.13 | 36.452
|  | 140 | 1699.47 | 32.4921
|  | 141 | 1673.95 | 25.6924
|  | 142 | 1514.05 | 27.2724
|  | 143 | 1313.23 | 26.1747
|  | 144 | 1144.35 | 24.6172
|  | 145 | 973.92 | 12.3652
|  | 146 | 867.37 | 10.426
|  | 147 | 758.71 | 9.9562
|  | 148 | 724.38 | 9.3209
|  | 149 | 726.27 | 9.0259
|  | 150 | 803.49 | 9.7893
|  | 151 | 1005.77 | 13.2619
|  | 152 | 1295.03 | 19.2257
|  | 153 | 1416.75 | 28.2477
|  | 154 | 1407.56 | 29.7275
|  | 155 | 1291.13 | 30.911
|  | 156 | 1233.36 | 29.9504
|  | 157 | 1217.29 | 26.9704
|  | 158 | 1243.45 | 23.5153
|  | 159 | 1280.03 | 23.1928
|  | 160 | 1311.47 | 27.0932
|  | 161 | 1392.33 | 32.1137
|  | 162 | 1558.43 | 32.51
|  | 163 | 1609.95 | 31.557
|  | 164 | 1605.49 | 31.5968
|  | 165 | 1565.86 | 30.9757
|  | 166 | 1436.94 | 33.3393
|  | 167 | 1219.5 | 28.4425
|  | 168 | 968.78 | 19.6936
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 12.01.2026 | 13.01.20262 | 14.01.2026 | 15.06.2026 | 16.01.2026 | 17.01.20262 | 18.01.2026
Min (MW) | 23.098 | 17.0132 | 11.4247 | 14.0912 | 10.782 | 9.9635 | 9.0259
Max (MW) | 37.8308 | 32.9617 | 46.7789 | 47.0736 | 37.7448 | 37.8385 | 33.3393
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-01-15
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 31211.34 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 12.01.2026 | 13.01.20262 | 14.01.2026 | 15.06.2026 | 16.01.2026 | 17.01.20262 | 18.01.2026
Min (MW) | 562.3905 | 539.2789 | 573.452 | 574.7759 | 574.9253 | 578.4007 | 575.7832
Max (MW) | 1404.0106 | 1513.2613 | 1541.9985 | 1543.1257 | 1497.2363 | 1457.3074 | 1387.9747
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-01-13
|  | Hour | Production | Exchange | Consumption
|  | 1 | 2088.4384 | 1141.255 | 947.1834
|  | 2 | 1961.1867 | 1122.033 | 839.1537
|  | 3 | 1897.4523 | 1125.027 | 772.4253
|  | 4 | 1891.3239 | 1150.59 | 740.7339
|  | 5 | 1898.2926 | 1166.249 | 732.0436
|  | 6 | 1925.6005 | 1119.367 | 806.2335
|  | 7 | 2139.5605 | 1105.425 | 1034.1355
|  | 8 | 2156.3999 | 798.15 | 1358.2499
|  | 9 | 2240.7405 | 749.11 | 1491.6305
|  | 10 | 2294.9558 | 779.086 | 1515.8698
|  | 11 | 2334.8205 | 862.291 | 1472.5295
|  | 12 | 2287.7824 | 822.863 | 1464.9194
|  | 13 | 2311.5249 | 822.55 | 1488.9749
|  | 14 | 2302.0027 | 750.591 | 1551.4117
|  | 15 | 2265.7326 | 668.391 | 1597.3416
|  | 16 | 2304.8814 | 695.401 | 1609.4804
|  | 17 | 2191.5321 | 535.35 | 1656.1821
|  | 18 | 2261.5987 | 520.915 | 1740.6837
|  | 19 | 2253.1421 | 509.611 | 1743.5311
|  | 20 | 2246.1 | 517.213 | 1728.887
|  | 21 | 2216.9663 | 519.158 | 1697.8083
|  | 22 | 2108.1176 | 533.236 | 1574.8816
|  | 23 | 2095.1099 | 718.671 | 1376.4389
|  | 24 | 2168.9183 | 1031.493 | 1137.4253
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 9.2907 | 229.8732 | 156.6875 | 381.2111 | 201.6672 | 151.7322
2 | 12.8489 | 229.9037 | 166.5077 | 336.2043 | 207.984 | 180.9833
3 | 16.7188 | 229.9435 | 168.7721 | 335.7592 | 213.7068 | 205.3804
4 | 18.108 | 218.5447 | 169.0705 | 332.7561 | 217.728 | 209.5105
5 | 16.693 | 209.7289 | 181.2606 | 324.7921 | 239.5599 | 194.2611
6 | 13.2018 | 219.2791 | 173.691 | 329.5499 | 200.8904 | 220.7497
7 | -1.9927 | 229.4531 | 127.523 | 356.1063 | 86.1827 | 217.688
8 | -26.9538 | 216.8266 | 94.1554 | 331.811 | 55.5959 | 15.1745
9 | -26.8688 | 233.3192 | 114.1755 | 357.2707 | 103.1117 | -45.4332
10 | -20.4033 | 240.0132 | 116.831 | 344.1554 | 115.9469 | -24.7855
11 | -14.9381 | 240.0337 | 136.9792 | 300.8904 | 129.8062 | -9.2123
12 | -12.3326 | 239.9784 | 161.1663 | 285.6624 | 180.8755 | -38.4646
13 | -9.7404 | 239.928 | 131.8734 | 288.2816 | 163.5299 | -7.6795
14 | -8.5117 | 239.9819 | 123.3997 | 302.7226 | 146.8723 | 10.1839
15 | -9.5616 | 239.9422 | 66.1874 | 351.6388 | 47.7819 | 98.3163
16 | -19.5084 | 239.955 | 26.5484 | 341.5781 | -50.1823 | 153.2779
17 | -35.607 | 200.4398 | -2.5469 | 311.1511 | -121.1616 | 84.4436
18 | -38.8867 | 239.1893 | 4.2553 | 323.5987 | -137.5396 | 68.4924
19 | -35.3764 | 235.199 | 22.8392 | 311.6639 | -184.7677 | 94.0572
20 | -41.2556 | 229.9378 | 32.4224 | 299.8324 | -158.1807 | 55.9513
21 | -48.8524 | 229.8676 | 28.2838 | 305.6353 | -107.399 | 14.5217
22 | -41.7041 | 229.9449 | 66.0036 | 275.8985 | -16.9613 | -34.9255
23 | -30.5172 | 229.9165 | 117.8713 | 261.022 | 136.4832 | -58.4879
24 | -2.3689 | 230.2259 | 172.7617 | 337.0752 | 204.3176 | 95.3216
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-01-15
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 2078.31
|  |  | 01:00 - 02:00 | 1963.14
|  |  | 02:00 - 03:00 | 1810.22
|  |  | 03:00 - 04:00 | 1793.38
|  |  | 04:00 - 05:00 | 1784.61
|  |  | 05:00 - 06:00 | 1841.44
|  |  | 06:00 - 07:00 | 1960.38
|  |  | 07:00 - 08:00 | 1931.05
|  |  | 08:00 - 09:00 | 2111.78
|  |  | 09:00 - 10:00 | 2133.75
|  |  | 10:00 - 11:00 | 2056.69
|  |  | 11:00 - 12:00 | 2052.91
|  |  | 12:00 - 13:00 | 2044.12
|  |  | 13:00 - 14:00 | 2063.77
|  |  | 14:00 - 15:00 | 2123.47
|  |  | 15:00 - 16:00 | 2142.18
|  |  | 16:00 - 17:00 | 1991.31
|  |  | 17:00 - 18:00 | 2149.76
|  |  | 18:00 - 19:00 | 2183.73
|  |  | 19:00 - 20:00 | 2155.49
|  |  | 20:00 - 21:00 | 2115.19
|  |  | 21:00 - 22:00 | 1976.51
|  |  | 22:00 - 23:00 | 1979.25
|  |  | 23:00 - 00:00 | 2102.86
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 115.2854 | 115.3888 | 119.8935 | 114.871 | 121.5926 | 114.5715 | 111.8643 | 100.8604
2 | 115.2468 | 115.4094 | 119.8351 | 114.8769 | 126.7474 | 0.89946 | 103.3146 | 105.2257
3 | 115.2608 | 115.4321 | 119.8599 | 114.8935 | 97.2253 | 0 | 89.4615 | 89.2905
4 | 103.8159 | 104.0273 | 108.7388 | 114.8771 | 89.1589 | 0 | 89.4186 | 89.1709
5 | 95.2026 | 95.1832 | 119.6504 | 114.8807 | 89.1422 | 0 | 89.4182 | 89.1702
6 | 104.5903 | 104.7594 | 110.3066 | 114.8729 | 99.076 | 0 | 113.1576 | 109.262
7 | 114.4897 | 114.9076 | 119.3133 | 114.9058 | 100.0879 | 49.8871 | 99.4319 | 126.779
8 | 108.4668 | 108.8632 | 113.4136 | 108.3194 | 93.0888 | 94.2924 | 94.3963 | 117.0708
9 | 114.9441 | 117.1106 | 120.0059 | 116.5852 | 138.6994 | 140.6132 | 138.7473 | 130.0511
10 | 114.9687 | 120.4896 | 119.9122 | 119.9217 | 143.3719 | 138.9538 | 138.9999 | 135.9219
11 | 115.0434 | 120.5109 | 119.9985 | 119.9432 | 29.2294 | 93.3713 | 142.1113 | 130.0699
12 | 115.05 | 120.4861 | 119.9959 | 119.9323 | 89.1415 | 0 | 124.8984 | 90.432
13 | 115.015 | 120.4534 | 119.9321 | 119.9153 | 89.1532 | 0 | 106.0946 | 110.3339
14 | 115.0181 | 120.5189 | 120.0208 | 119.9181 | 133.4669 | 1.3916 | 132.8367 | 103.7124
15 | 114.9907 | 120.4846 | 119.9588 | 119.9146 | 108.1053 | 118.1115 | 119.3001 | 94.4371
16 | 115.0077 | 120.4998 | 119.9191 | 119.9063 | 101.972 | 119.1334 | 109.344 | 113.8087
17 | 102.0725 | 102.3427 | 101.9758 | 101.8973 | 94.4751 | 93.0051 | 97.9321 | 120.3976
18 | 114.9561 | 120.4894 | 119.8928 | 119.758 | 124.9548 | 131.7673 | 117.2475 | 121.0231
19 | 114.9893 | 120.4274 | 115.2142 | 115.0765 | 138.3832 | 140.8375 | 141.617 | 121.0331
20 | 115.0297 | 115.4292 | 114.9514 | 114.8568 | 124.5259 | 128.9831 | 129.0235 | 110.8953
21 | 115.0131 | 115.4522 | 114.9748 | 114.8192 | 113.6195 | 128.6556 | 128.4154 | 101.3638
22 | 115.0008 | 115.4862 | 114.9781 | 114.8478 | 107.8577 | 113.8303 | 89.408 | 106.1716
23 | 115.0209 | 115.4832 | 114.9526 | 114.8173 | 99.3435 | 89.9086 | 89.7142 | 113.0671
24 | 115.0645 | 115.5518 | 115.3098 | 115.0463 | 118.2407 | 120.5537 | 122.8132 | 112.9124
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2584.2576 | 2639.7982 | 2683.1106 | 2664.7819 | 2449.0664 | 1704.1948 | 2607.1018 | 2541.5999
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1098 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1288 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 764.68 | 24.3613
|  | 2 | 670.67 | 25.6728
|  | 3 | 613.4 | 25.9765
|  | 4 | 589.35 | 29.1782
|  | 5 | 573.51 | 24.932
|  | 6 | 638.09 | 23.098
|  | 7 | 812.1 | 24.4225
|  | 8 | 1066.78 | 30.1696
|  | 9 | 1205.36 | 29.9896
|  | 10 | 1266.77 | 31.4367
|  | 11 | 1132.62 | 28.6549
|  | 12 | 1177.92 | 26.0659
|  | 13 | 1258.38 | 26.2732
|  | 14 | 1224.81 | 27.107
|  | 15 | 1244.85 | 29.7895
|  | 16 | 1225.35 | 31.1242
|  | 17 | 1212.57 | 31.4144
|  | 18 | 1328.64 | 34.564
|  | 19 | 1329.45 | 35.1381
|  | 20 | 1325.52 | 34.6459
|  | 21 | 1265.55 | 32.7923
|  | 22 | 1153.3 | 37.8308
|  | 23 | 994.12 | 37.3199
|  | 24 | 795.31 | 32.4867
|  | 25 | 755.39 | 20.747
|  | 26 | 677.81 | 19.2714
|  | 27 | 620.03 | 18.2252
|  | 28 | 597.94 | 18.2633
|  | 29 | 600.85 | 20.428
|  | 30 | 659.11 | 17.0132
|  | 31 | 833.61 | 17.9135
|  | 32 | 1037.23 | 18.8568
|  | 33 | 1186.08 | 21.6459
|  | 34 | 1256.53 | 26.4107
|  | 35 | 1279.53 | 27.9367
|  | 36 | 1284.82 | 27.8566
|  | 37 | 1254.78 | 27.0824
|  | 38 | 1240.01 | 28.1689
|  | 39 | 1255.63 | 28.0789
|  | 40 | 1277.61 | 28.8292
|  | 41 | 1319.6 | 30.894
|  | 42 | 1429.91 | 32.6533
|  | 43 | 1488.82 | 32.9617
|  | 44 | 1386.38 | 32.239
|  | 45 | 1342.27 | 31.525
|  | 46 | 1287.71 | 27.8831
|  | 47 | 1112.91 | 24.4064
|  | 48 | 917.39 | 21.9978
|  | 49 | 772.04 | 15.3862
|  | 50 | 682.15 | 12.8016
|  | 51 | 626.56 | 12.1144
|  | 52 | 606.11 | 13.3619
|  | 53 | 600.06 | 12.2123
|  | 54 | 649.3 | 11.4247
|  | 55 | 823.39 | 13.5813
|  | 56 | 1057.19 | 18.9038
|  | 57 | 1203.45 | 29.3869
|  | 58 | 1290.4 | 38.8618
|  | 59 | 1388.72 | 46.3739
|  | 60 | 1363.29 | 46.7789
|  | 61 | 1338.59 | 44.3552
|  | 62 | 1344.35 | 42.0456
|  | 63 | 1359.04 | 36.0553
|  | 64 | 1510.4 | 32.1884
|  | 65 | 1528.46 | 34.6499
|  | 66 | 1607.65 | 38.7509
|  | 67 | 1568.59 | 37.2375
|  | 68 | 1631.52 | 33.8378
|  | 69 | 1590.69 | 33.4583
|  | 70 | 1476.05 | 29.1021
|  | 71 | 1312.97 | 24.8645
|  | 72 | 1125.54 | 22.4515
|  | 73 | 828.21 | 18.4849
|  | 74 | 715.06 | 17.1645
|  | 75 | 663.41 | 15.7827
|  | 76 | 647.52 | 14.7456
|  | 77 | 648.9 | 14.0912
|  | 78 | 715.42 | 15.8864
|  | 79 | 919.27 | 18.3202
|  | 80 | 1201.35 | 21.3552
|  | 81 | 1339.19 | 26.5544
|  | 82 | 1434.54 | 31.7823
|  | 83 | 1487.55 | 44.0381
|  | 84 | 1509.88 | 47.0736
|  | 85 | 1553.11 | 45.8569
|  | 86 | 1602.24 | 44.0497
|  | 87 | 1606.31 | 37.6103
|  | 88 | 1516.29 | 34.704
|  | 89 | 1565.55 | 37.1956
|  | 90 | 1651.22 | 38.6513
|  | 91 | 1634.48 | 39.2577
|  | 92 | 1593.56 | 38.6223
|  | 93 | 1557.78 | 33.6649
|  | 94 | 1393.93 | 28.5229
|  | 95 | 1187.73 | 30.428
|  | 96 | 953.89 | 22.7374
|  | 97 | 828.25 | 22.2572
|  | 98 | 747.75 | 16.5222
|  | 99 | 660.42 | 13.3644
|  | 100 | 636.05 | 11.0909
|  | 101 | 645.7 | 11.1013
|  | 102 | 729.77 | 10.782
|  | 103 | 897.13 | 11.6229
|  | 104 | 1109.95 | 12.2785
|  | 105 | 1334.33 | 21.7269
|  | 106 | 1392.39 | 35.81
|  | 107 | 1456.63 | 32.6612
|  | 108 | 1471.06 | 30.2438
|  | 109 | 1458.54 | 28.7342
|  | 110 | 1469.64 | 23.0841
|  | 111 | 1468.29 | 19.6789
|  | 112 | 1457.46 | 24.3252
|  | 113 | 1502.18 | 31.4965
|  | 114 | 1578.4 | 35.6465
|  | 115 | 1629.12 | 37.7448
|  | 116 | 1591.89 | 36.2247
|  | 117 | 1531.34 | 35.4791
|  | 118 | 1442.26 | 32.6308
|  | 119 | 1279.65 | 25.913
|  | 120 | 1094.78 | 22.2
|  | 121 | 914.58 | 14.4307
|  | 122 | 791.32 | 12.1907
|  | 123 | 696.97 | 10.7641
|  | 124 | 662.04 | 9.9635
|  | 125 | 662.23 | 10.2479
|  | 126 | 710.13 | 11.1658
|  | 127 | 845.28 | 14.2559
|  | 128 | 1029.86 | 19.7653
|  | 129 | 1223.29 | 27.0841
|  | 130 | 1352.18 | 30.4127
|  | 131 | 1396.52 | 27.5494
|  | 132 | 1399.96 | 24.2094
|  | 133 | 1227.08 | 23.0156
|  | 134 | 1232.9 | 23.2136
|  | 135 | 1249.57 | 27.0292
|  | 136 | 1425.33 | 35.9118
|  | 137 | 1480.47 | 37.4931
|  | 138 | 1634.78 | 37.8385
|  | 139 | 1660.13 | 36.452
|  | 140 | 1699.47 | 32.4921
|  | 141 | 1673.95 | 25.6924
|  | 142 | 1514.05 | 27.2724
|  | 143 | 1313.23 | 26.1747
|  | 144 | 1144.35 | 24.6172
|  | 145 | 973.92 | 12.3652
|  | 146 | 867.37 | 10.426
|  | 147 | 758.71 | 9.9562
|  | 148 | 724.38 | 9.3209
|  | 149 | 726.27 | 9.0259
|  | 150 | 803.49 | 9.7893
|  | 151 | 1005.77 | 13.2619
|  | 152 | 1295.03 | 19.2257
|  | 153 | 1416.75 | 28.2477
|  | 154 | 1407.56 | 29.7275
|  | 155 | 1291.13 | 30.911
|  | 156 | 1233.36 | 29.9504
|  | 157 | 1217.29 | 26.9704
|  | 158 | 1243.45 | 23.5153
|  | 159 | 1280.03 | 23.1928
|  | 160 | 1311.47 | 27.0932
|  | 161 | 1392.33 | 32.1137
|  | 162 | 1558.43 | 32.51
|  | 163 | 1609.95 | 31.557
|  | 164 | 1605.49 | 31.5968
|  | 165 | 1565.86 | 30.9757
|  | 166 | 1436.94 | 33.3393
|  | 167 | 1219.5 | 28.4425
|  | 168 | 968.78 | 19.6936
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 12.01.2026 | 13.01.20262 | 15.06.2026 | 15.06.2026 | 16.01.2026 | 17.01.20262 | 18.01.2026
Min (MW) | 23.098 | 17.0132 | 11.4247 | 14.0912 | 10.782 | 9.9635 | 9.0259
Max (MW) | 37.8308 | 32.9617 | 46.7789 | 47.0736 | 37.7448 | 37.8385 | 33.3393
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible