## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-01-22
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 30120.21 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 19.01.2026 | 20.01.20262 | 21.01.2026 | 22.06.2026 | 23.01.2026 | 24.01.20262 | 25.01.2026
Min (MW) | 564.2757 | 513.4401 | 528.8616 | 542.0619 | 527.664 | 529.6278 | 523.5356
Max (MW) | 1395.2037 | 1370.1626 | 1433.3947 | 1398.7488 | 1353.9059 | 1291.1895 | 1277.6825
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-01-20
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1527.3683 | 733.17 | 794.1983
|  | 2 | 1419.0073 | 726.375 | 692.6323
|  | 3 | 1462.6503 | 820.959 | 641.6913
|  | 4 | 1394.0217 | 771.159 | 622.8627
|  | 5 | 1356.0255 | 727.309 | 628.7165
|  | 6 | 1430.7681 | 720.87 | 709.8981
|  | 7 | 1605.008 | 659.235 | 945.773
|  | 8 | 1941.5251 | 674.437 | 1267.0881
|  | 9 | 1976.7052 | 606.977 | 1369.7282
|  | 10 | 2023.8253 | 693.681 | 1330.1443
|  | 11 | 2026.3064 | 758.354 | 1267.9524
|  | 12 | 2010.7359 | 771.358 | 1239.3779
|  | 13 | 1988.9526 | 737.522 | 1251.4306
|  | 14 | 1972.9251 | 654.96 | 1317.9651
|  | 15 | 2026.2133 | 623.269 | 1402.9443
|  | 16 | 1996.4816 | 532.018 | 1464.4636
|  | 17 | 2034.9632 | 500.298 | 1534.6652
|  | 18 | 2087.9338 | 454.959 | 1632.9748
|  | 19 | 2097.4717 | 450.155 | 1647.3167
|  | 20 | 2063.3114 | 429.531 | 1633.7804
|  | 21 | 1978.9135 | 381.076 | 1597.8375
|  | 22 | 1962.9681 | 499.912 | 1463.0561
|  | 23 | 1943.4226 | 680.545 | 1262.8776
|  | 24 | 1871.9689 | 824.751 | 1047.2179
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -3.9924 | 219.7489 | 133.2778 | 313.0767 | 242.2022 | 52.4792
2 | 0.29901 | 199.7834 | 72.9778 | 304.3225 | 183.8162 | 101.9019
3 | 7.3336 | 219.8106 | 54.2148 | 263.5154 | 162.2369 | 123.0799
4 | 8.519 | 219.9732 | 59.6925 | 260.9543 | 178.3461 | 110.1891
5 | 7.0503 | 199.9232 | 65.2954 | 248.9808 | 192.2296 | 87.757
6 | -4.6352 | 219.9284 | 85.2201 | 271.5633 | 195.9821 | 30.3142
7 | -6.264 | 203.9695 | 87.1989 | 335.2495 | 92.9242 | 51.6238
8 | -41.5853 | 239.3731 | 106.1691 | 330.1015 | 82.828 | -10.6251
9 | -47.3837 | 239.8932 | 104.6292 | 294.5199 | 119.0327 | -86.5919
10 | -47.4599 | 239.9287 | 89.3892 | 269.0054 | 118.5193 | -76.7448
11 | -53.6603 | 239.8719 | 111.7869 | 268.9344 | 181.4077 | -104.9701
12 | -58.5526 | 239.8613 | 105.9818 | 263.8025 | 201.6296 | -95.8132
13 | -60.6075 | 239.224 | 97.8845 | 262.1316 | 190.1169 | -90.4071
14 | -62.1415 | 239.8904 | 98.1627 | 260.3995 | 189.668 | -110.2136
15 | -57.6203 | 239.8627 | 102.666 | 271.9052 | 166.8361 | -117.6299
16 | -55.1945 | 239.8876 | 71.1608 | 294.2005 | 37.8739 | -70.9258
17 | -59.3488 | 229.8796 | 58.4155 | 300.1937 | 4.446 | -78.5227
18 | -59.3408 | 229.7938 | 55.0777 | 295.0553 | 4.5535 | -123.516
19 | -57.8269 | 239.713 | 49.9219 | 290.6943 | -8.4215 | -107.0564
20 | -53.3896 | 239.8272 | 44.6178 | 280.682 | -18.3779 | -99.3033
21 | -57.8999 | 239.8471 | 59.3685 | 273.0019 | 15.2221 | -124.6875
22 | -45.1982 | 200.1545 | 92.7549 | 247.6874 | 117.4414 | -156.2352
23 | -23.1943 | 219.563 | 149.4535 | 258.2093 | 246.2692 | -121.8425
24 | 1.826 | 219.7368 | 149.8047 | 247.7358 | 258.3222 | -48.5014
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-01-22
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1495.83
|  |  | 01:00 - 02:00 | 1387.4
|  |  | 02:00 - 03:00 | 1317.68
|  |  | 03:00 - 04:00 | 1299.71
|  |  | 04:00 - 05:00 | 1301.4
|  |  | 05:00 - 06:00 | 1371.52
|  |  | 06:00 - 07:00 | 1586.4
|  |  | 07:00 - 08:00 | 1918.97
|  |  | 08:00 - 09:00 | 1941.54
|  |  | 09:00 - 10:00 | 2039.86
|  |  | 10:00 - 11:00 | 2014.44
|  |  | 11:00 - 12:00 | 2032.3
|  |  | 12:00 - 13:00 | 2027.18
|  |  | 13:00 - 14:00 | 2033.4
|  |  | 14:00 - 15:00 | 2046.48
|  |  | 15:00 - 16:00 | 1924.2
|  |  | 16:00 - 17:00 | 1936.24
|  |  | 17:00 - 18:00 | 2020.05
|  |  | 18:00 - 19:00 | 2018.29
|  |  | 19:00 - 20:00 | 1999.03
|  |  | 20:00 - 21:00 | 1946.3
|  |  | 21:00 - 22:00 | 1837.19
|  |  | 22:00 - 23:00 | 1909.13
|  |  | 23:00 - 00:00 | 1697.18
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 99.9174 | 110.2664 | 99.9815 | 109.8449 | 113.2708 | 115.2623 | 89.7518 | 135.3329
2 | 99.8677 | 100.2369 | 99.9044 | 99.8831 | 117.5637 | 113.3257 | 0.72524 | 2.1871
3 | 99.9202 | 110.3743 | 99.8935 | 109.8082 | 106.3018 | 0.81501 | 0 | 0
4 | 99.8523 | 110.4587 | 99.8845 | 109.8863 | 89.6634 | 0 | 0 | 0
5 | 100.0014 | 100.3874 | 99.875 | 99.8802 | 89.1457 | 0 | 0 | 0
6 | 99.9297 | 110.4597 | 104.8879 | 109.8361 | 108.1493 | 0.02874 | 0 | 0.58616
7 | 101.9372 | 102.3417 | 101.8965 | 101.9786 | 123.3844 | 92.9153 | 0.34878 | 92.4711
8 | 115.0389 | 120.2881 | 119.4902 | 119.4838 | 136.9561 | 113.5344 | 121.1409 | 123.0672
9 | 115.1827 | 120.4227 | 119.8091 | 119.8443 | 132.4322 | 140.9187 | 140.9801 | 138.98
10 | 115.1359 | 120.4421 | 119.8718 | 119.8945 | 143.5124 | 143.2609 | 143.3208 | 142.7254
11 | 115.1328 | 120.4321 | 119.8145 | 119.8538 | 142.2653 | 143.8602 | 143.9315 | 141.5982
12 | 115.1747 | 120.4224 | 119.8424 | 119.8599 | 135.775 | 143.5908 | 143.6136 | 141.7646
13 | 115.1818 | 120.0794 | 119.5101 | 119.5631 | 143.5234 | 143.8609 | 143.9357 | 142.5757
14 | 115.165 | 120.4513 | 119.9115 | 119.8552 | 143.4894 | 143.8648 | 143.9414 | 141.5879
15 | 115.1293 | 120.4307 | 119.9229 | 119.8464 | 141.3885 | 143.8715 | 143.9308 | 140.6076
16 | 115.1264 | 120.4548 | 119.8677 | 119.845 | 91.0156 | 143.8733 | 143.9478 | 141.5808
17 | 115.1007 | 115.4188 | 114.9621 | 114.8677 | 115.94 | 138.9513 | 138.9953 | 142.5661
18 | 115.1359 | 115.3538 | 114.9024 | 114.8364 | 143.2084 | 142.2745 | 142.2354 | 139.8078
19 | 115.1392 | 120.3614 | 119.7897 | 119.7516 | 143.3726 | 143.8782 | 143.7207 | 143.538
20 | 109.4754 | 120.4026 | 119.8644 | 119.8301 | 141.5865 | 143.8644 | 143.6341 | 143.4769
21 | 110.0126 | 120.4425 | 119.8677 | 119.8084 | 117.7464 | 143.8775 | 143.7324 | 139.6627
22 | 100.2909 | 100.4238 | 100.1636 | 100.0875 | 106.2025 | 140.1977 | 139.5186 | 139.2593
23 | 109.8894 | 110.1753 | 109.7841 | 109.7526 | 116.8225 | 138.9658 | 134.0906 | 134.7488
24 | 109.9762 | 110.3019 | 109.8759 | 109.8047 | 112.6583 | 99.4684 | 99.5259 | 78.0091
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2622.7138 | 2740.829 | 2693.5734 | 2727.9025 | 2955.3743 | 2674.4604 | 2445.0215 | 2546.1334
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 324 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1290 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 1031.36 | 28.3737
|  | 2 | 911.8 | 37.7174
|  | 3 | 858.32 | 36.7988
|  | 4 | 838.09 | 35.8173
|  | 5 | 851.88 | 35.6906
|  | 6 | 937.76 | 33.9409
|  | 7 | 1073.96 | 37.1147
|  | 8 | 1400.31 | 36.6154
|  | 9 | 1549.55 | 40.3193
|  | 10 | 1535.15 | 35.8131
|  | 11 | 1619.59 | 34.8411
|  | 12 | 1629.74 | 33.9174
|  | 13 | 1587 | 35.3651
|  | 14 | 1575.31 | 38.0584
|  | 15 | 1613 | 40.3683
|  | 16 | 1653.9 | 41.4241
|  | 17 | 1769.47 | 39.8905
|  | 18 | 1858.05 | 40.2319
|  | 19 | 1833.43 | 37.2656
|  | 20 | 1791.67 | 35.9932
|  | 21 | 1757.53 | 38.6515
|  | 22 | 1638.4 | 37.5651
|  | 23 | 1435.26 | 37.9917
|  | 24 | 1143.78 | 42.7585
|  | 25 | 1022.69 | 41.802
|  | 26 | 903.01 | 39.6971
|  | 27 | 835.24 | 38.5521
|  | 28 | 812.55 | 38.8197
|  | 29 | 825.19 | 38.8081
|  | 30 | 908.77 | 37.876
|  | 31 | 1059.91 | 44.444
|  | 32 | 1408.7 | 41.7327
|  | 33 | 1548.16 | 43.2527
|  | 34 | 1477.48 | 43.4187
|  | 35 | 1439.39 | 43.3504
|  | 36 | 1419.66 | 39.64
|  | 37 | 1466.47 | 38.3443
|  | 38 | 1428.3 | 39.9533
|  | 39 | 1475.19 | 41.9741
|  | 40 | 1488.56 | 38.9694
|  | 41 | 1559.24 | 36.6815
|  | 42 | 1703.23 | 38.7566
|  | 43 | 1769.98 | 38.8271
|  | 44 | 1716.47 | 38.0218
|  | 45 | 1681.3 | 37.7699
|  | 46 | 1579.85 | 37.3121
|  | 47 | 1332.86 | 37.3728
|  | 48 | 1085.35 | 40.2538
|  | 49 | 1027.64 | 45.0137
|  | 50 | 896.7 | 42.1824
|  | 51 | 794.06 | 38.9012
|  | 52 | 746.92 | 38.7357
|  | 53 | 770.98 | 40.3378
|  | 54 | 823.51 | 41.6812
|  | 55 | 988.62 | 41.3144
|  | 56 | 1296.34 | 42.1241
|  | 57 | 1427.26 | 43.6069
|  | 58 | 1427.88 | 44.769
|  | 59 | 1354.47 | 45.0273
|  | 60 | 1239.61 | 40.9065
|  | 61 | 1211.68 | 40.778
|  | 62 | 1278.03 | 41.0852
|  | 63 | 1317.95 | 41.1112
|  | 64 | 1443.42 | 45.0897
|  | 65 | 1535.69 | 48.3856
|  | 66 | 1664.97 | 48.0593
|  | 67 | 1632.33 | 44.9113
|  | 68 | 1756.87 | 43.7667
|  | 69 | 1557.87 | 43.2003
|  | 70 | 1431.39 | 40.7643
|  | 71 | 1200.72 | 38.3428
|  | 72 | 942.4 | 39.2162
|  | 73 | 914.36 | 50.5319
|  | 74 | 809.76 | 48.8036
|  | 75 | 762.98 | 51.9243
|  | 76 | 749.68 | 52.4512
|  | 77 | 760.61 | 52.091
|  | 78 | 846.03 | 50.4006
|  | 79 | 1002.76 | 45.0729
|  | 80 | 1278.74 | 40.0566
|  | 81 | 1385.01 | 42.7008
|  | 82 | 1347.04 | 44.6073
|  | 83 | 1291.46 | 45.4648
|  | 84 | 1249.27 | 44.136
|  | 85 | 1272.76 | 40.6353
|  | 86 | 1401.43 | 38.5372
|  | 87 | 1389.94 | 36.0732
|  | 88 | 1345.88 | 37.8649
|  | 89 | 1434.81 | 42.7004
|  | 90 | 1559.24 | 56.9091
|  | 91 | 1534.13 | 59.8028
|  | 92 | 1516.89 | 58.5842
|  | 93 | 1453.71 | 57.2378
|  | 94 | 1325.63 | 53.9806
|  | 95 | 1106.75 | 52.7657
|  | 96 | 874.67 | 50.7782
|  | 97 | 867.35 | 52.2459
|  | 98 | 761.46 | 57.4275
|  | 99 | 718.32 | 57.0775
|  | 100 | 697.87 | 52.4725
|  | 101 | 708.14 | 51.9168
|  | 102 | 779.3 | 46.4806
|  | 103 | 861.54 | 41.9374
|  | 104 | 1076.64 | 47.7646
|  | 105 | 1247.71 | 55.8393
|  | 106 | 1259.48 | 55.4364
|  | 107 | 1245.69 | 56.3427
|  | 108 | 1149.01 | 57.1529
|  | 109 | 1123.28 | 54.6999
|  | 110 | 1118.79 | 54.152
|  | 111 | 1143.22 | 53.612
|  | 112 | 1183.21 | 51.8107
|  | 113 | 1281.81 | 56.3865
|  | 114 | 1456.92 | 60.2492
|  | 115 | 1507.96 | 61.8873
|  | 116 | 1466.28 | 64.7671
|  | 117 | 1426.38 | 64.4959
|  | 118 | 1352.54 | 69.5404
|  | 119 | 1219.8 | 67.3027
|  | 120 | 1051.08 | 63.4123
|  | 121 | 899.84 | 40.0715
|  | 122 | 791.79 | 35.7932
|  | 123 | 720.48 | 32.7149
|  | 124 | 692.7 | 30.8098
|  | 125 | 695.01 | 30.9381
|  | 126 | 743.69 | 31.2629
|  | 127 | 809.99 | 33.8792
|  | 128 | 969.93 | 36.3692
|  | 129 | 1129.24 | 42.7805
|  | 130 | 1161.25 | 45.9595
|  | 131 | 1097.76 | 49.9958
|  | 132 | 1061.24 | 50.8803
|  | 133 | 1033.33 | 53.6551
|  | 134 | 1101.9 | 49.6869
|  | 135 | 1196.33 | 43.9008
|  | 136 | 1271.35 | 47.1042
|  | 137 | 1375.21 | 52.9634
|  | 138 | 1502.56 | 52.9893
|  | 139 | 1519.02 | 58.4913
|  | 140 | 1516.96 | 60.9411
|  | 141 | 1510.32 | 55.7436
|  | 142 | 1424.35 | 56.5308
|  | 143 | 1281.89 | 52.7515
|  | 144 | 1000.04 | 48.835
|  | 145 | 868.12 | 44.5648
|  | 146 | 768.83 | 44.6839
|  | 147 | 714.33 | 41.8427
|  | 148 | 694.92 | 39.3132
|  | 149 | 703.73 | 36.1384
|  | 150 | 784.55 | 36.1719
|  | 151 | 994.22 | 41.175
|  | 152 | 1319.57 | 42.8306
|  | 153 | 1432.18 | 44.9715
|  | 154 | 1402.44 | 44.5314
|  | 155 | 1293.82 | 41.9532
|  | 156 | 1245.07 | 41.8163
|  | 157 | 1239.2 | 43.9067
|  | 158 | 1276.74 | 42.8536
|  | 159 | 1310.88 | 45.5371
|  | 160 | 1350.42 | 50.0241
|  | 161 | 1441.07 | 51.0169
|  | 162 | 1626.64 | 53.8846
|  | 163 | 1635.49 | 51.0528
|  | 164 | 1619.6 | 49.0423
|  | 165 | 1580.42 | 45.6152
|  | 166 | 1423.22 | 45.355
|  | 167 | 1225.46 | 43.2426
|  | 168 | 1003.1 | 41.0518
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 19.01.2026 | 20.01.20262 | 21.01.2026 | 22.06.2026 | 23.01.2026 | 24.01.20262 | 25.01.2026
Min (MW) | 28.3737 | 36.6815 | 38.3428 | 36.0732 | 41.9374 | 30.8098 | 36.1384
Max (MW) | 42.7585 | 44.444 | 48.3856 | 59.8028 | 69.5404 | 60.9411 | 53.8846
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-01-22
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 30120.21 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 19.01.2026 | 20.01.20262 | 21.01.2026 | 22.06.2026 | 23.01.2026 | 24.01.20262 | 25.01.2026
Min (MW) | 564.2757 | 513.4401 | 528.8616 | 542.0619 | 527.664 | 529.6278 | 523.5356
Max (MW) | 1395.2037 | 1370.1626 | 1433.3947 | 1398.7488 | 1353.9059 | 1291.1895 | 1277.6825
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-01-20
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1527.3683 | 733.17 | 794.1983
|  | 2 | 1419.0073 | 726.375 | 692.6323
|  | 3 | 1462.6503 | 820.959 | 641.6913
|  | 4 | 1394.0217 | 771.159 | 622.8627
|  | 5 | 1356.0255 | 727.309 | 628.7165
|  | 6 | 1430.7681 | 720.87 | 709.8981
|  | 7 | 1605.008 | 659.235 | 945.773
|  | 8 | 1941.5251 | 674.437 | 1267.0881
|  | 9 | 1976.7052 | 606.977 | 1369.7282
|  | 10 | 2023.8253 | 693.681 | 1330.1443
|  | 11 | 2026.3064 | 758.354 | 1267.9524
|  | 12 | 2010.7359 | 771.358 | 1239.3779
|  | 13 | 1988.9526 | 737.522 | 1251.4306
|  | 14 | 1972.9251 | 654.96 | 1317.9651
|  | 15 | 2026.2133 | 623.269 | 1402.9443
|  | 16 | 1996.4816 | 532.018 | 1464.4636
|  | 17 | 2034.9632 | 500.298 | 1534.6652
|  | 18 | 2087.9338 | 454.959 | 1632.9748
|  | 19 | 2097.4717 | 450.155 | 1647.3167
|  | 20 | 2063.3114 | 429.531 | 1633.7804
|  | 21 | 1978.9135 | 381.076 | 1597.8375
|  | 22 | 1962.9681 | 499.912 | 1463.0561
|  | 23 | 1943.4226 | 680.545 | 1262.8776
|  | 24 | 1871.9689 | 824.751 | 1047.2179
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -3.9924 | 219.7489 | 133.2778 | 313.0767 | 242.2022 | 52.4792
2 | 0.29901 | 199.7834 | 72.9778 | 304.3225 | 183.8162 | 101.9019
3 | 7.3336 | 219.8106 | 54.2148 | 263.5154 | 162.2369 | 123.0799
4 | 8.519 | 219.9732 | 59.6925 | 260.9543 | 178.3461 | 110.1891
5 | 7.0503 | 199.9232 | 65.2954 | 248.9808 | 192.2296 | 87.757
6 | -4.6352 | 219.9284 | 85.2201 | 271.5633 | 195.9821 | 30.3142
7 | -6.264 | 203.9695 | 87.1989 | 335.2495 | 92.9242 | 51.6238
8 | -41.5853 | 239.3731 | 106.1691 | 330.1015 | 82.828 | -10.6251
9 | -47.3837 | 239.8932 | 104.6292 | 294.5199 | 119.0327 | -86.5919
10 | -47.4599 | 239.9287 | 89.3892 | 269.0054 | 118.5193 | -76.7448
11 | -53.6603 | 239.8719 | 111.7869 | 268.9344 | 181.4077 | -104.9701
12 | -58.5526 | 239.8613 | 105.9818 | 263.8025 | 201.6296 | -95.8132
13 | -60.6075 | 239.224 | 97.8845 | 262.1316 | 190.1169 | -90.4071
14 | -62.1415 | 239.8904 | 98.1627 | 260.3995 | 189.668 | -110.2136
15 | -57.6203 | 239.8627 | 102.666 | 271.9052 | 166.8361 | -117.6299
16 | -55.1945 | 239.8876 | 71.1608 | 294.2005 | 37.8739 | -70.9258
17 | -59.3488 | 229.8796 | 58.4155 | 300.1937 | 4.446 | -78.5227
18 | -59.3408 | 229.7938 | 55.0777 | 295.0553 | 4.5535 | -123.516
19 | -57.8269 | 239.713 | 49.9219 | 290.6943 | -8.4215 | -107.0564
20 | -53.3896 | 239.8272 | 44.6178 | 280.682 | -18.3779 | -99.3033
21 | -57.8999 | 239.8471 | 59.3685 | 273.0019 | 15.2221 | -124.6875
22 | -45.1982 | 200.1545 | 92.7549 | 247.6874 | 117.4414 | -156.2352
23 | -23.1943 | 219.563 | 149.4535 | 258.2093 | 246.2692 | -121.8425
24 | 1.826 | 219.7368 | 149.8047 | 247.7358 | 258.3222 | -48.5014
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-01-22
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1495.83
|  |  | 01:00 - 02:00 | 1387.4
|  |  | 02:00 - 03:00 | 1317.68
|  |  | 03:00 - 04:00 | 1299.71
|  |  | 04:00 - 05:00 | 1301.4
|  |  | 05:00 - 06:00 | 1371.52
|  |  | 06:00 - 07:00 | 1586.4
|  |  | 07:00 - 08:00 | 1918.97
|  |  | 08:00 - 09:00 | 1941.54
|  |  | 09:00 - 10:00 | 2039.86
|  |  | 10:00 - 11:00 | 2014.44
|  |  | 11:00 - 12:00 | 2032.3
|  |  | 12:00 - 13:00 | 2027.18
|  |  | 13:00 - 14:00 | 2033.4
|  |  | 14:00 - 15:00 | 2046.48
|  |  | 15:00 - 16:00 | 1924.2
|  |  | 16:00 - 17:00 | 1936.24
|  |  | 17:00 - 18:00 | 2020.05
|  |  | 18:00 - 19:00 | 2018.29
|  |  | 19:00 - 20:00 | 1999.03
|  |  | 20:00 - 21:00 | 1946.3
|  |  | 21:00 - 22:00 | 1837.19
|  |  | 22:00 - 23:00 | 1909.13
|  |  | 23:00 - 00:00 | 1697.18
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 99.9174 | 110.2664 | 99.9815 | 109.8449 | 113.2708 | 115.2623 | 89.7518 | 135.3329
2 | 99.8677 | 100.2369 | 99.9044 | 99.8831 | 117.5637 | 113.3257 | 0.72524 | 2.1871
3 | 99.9202 | 110.3743 | 99.8935 | 109.8082 | 106.3018 | 0.81501 | 0 | 0
4 | 99.8523 | 110.4587 | 99.8845 | 109.8863 | 89.6634 | 0 | 0 | 0
5 | 100.0014 | 100.3874 | 99.875 | 99.8802 | 89.1457 | 0 | 0 | 0
6 | 99.9297 | 110.4597 | 104.8879 | 109.8361 | 108.1493 | 0.02874 | 0 | 0.58616
7 | 101.9372 | 102.3417 | 101.8965 | 101.9786 | 123.3844 | 92.9153 | 0.34878 | 92.4711
8 | 115.0389 | 120.2881 | 119.4902 | 119.4838 | 136.9561 | 113.5344 | 121.1409 | 123.0672
9 | 115.1827 | 120.4227 | 119.8091 | 119.8443 | 132.4322 | 140.9187 | 140.9801 | 138.98
10 | 115.1359 | 120.4421 | 119.8718 | 119.8945 | 143.5124 | 143.2609 | 143.3208 | 142.7254
11 | 115.1328 | 120.4321 | 119.8145 | 119.8538 | 142.2653 | 143.8602 | 143.9315 | 141.5982
12 | 115.1747 | 120.4224 | 119.8424 | 119.8599 | 135.775 | 143.5908 | 143.6136 | 141.7646
13 | 115.1818 | 120.0794 | 119.5101 | 119.5631 | 143.5234 | 143.8609 | 143.9357 | 142.5757
14 | 115.165 | 120.4513 | 119.9115 | 119.8552 | 143.4894 | 143.8648 | 143.9414 | 141.5879
15 | 115.1293 | 120.4307 | 119.9229 | 119.8464 | 141.3885 | 143.8715 | 143.9308 | 140.6076
16 | 115.1264 | 120.4548 | 119.8677 | 119.845 | 91.0156 | 143.8733 | 143.9478 | 141.5808
17 | 115.1007 | 115.4188 | 114.9621 | 114.8677 | 115.94 | 138.9513 | 138.9953 | 142.5661
18 | 115.1359 | 115.3538 | 114.9024 | 114.8364 | 143.2084 | 142.2745 | 142.2354 | 139.8078
19 | 115.1392 | 120.3614 | 119.7897 | 119.7516 | 143.3726 | 143.8782 | 143.7207 | 143.538
20 | 109.4754 | 120.4026 | 119.8644 | 119.8301 | 141.5865 | 143.8644 | 143.6341 | 143.4769
21 | 110.0126 | 120.4425 | 119.8677 | 119.8084 | 117.7464 | 143.8775 | 143.7324 | 139.6627
22 | 100.2909 | 100.4238 | 100.1636 | 100.0875 | 106.2025 | 140.1977 | 139.5186 | 139.2593
23 | 109.8894 | 110.1753 | 109.7841 | 109.7526 | 116.8225 | 138.9658 | 134.0906 | 134.7488
24 | 109.9762 | 110.3019 | 109.8759 | 109.8047 | 112.6583 | 99.4684 | 99.5259 | 78.0091
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2522.7964 | 2630.5625 | 2593.5919 | 2618.0576 | 2842.1036 | 2559.1981 | 2355.2697 | 2410.8006
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 324 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1290 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 1031.36 | 28.3737
|  | 2 | 911.8 | 37.7174
|  | 3 | 858.32 | 36.7988
|  | 4 | 838.09 | 35.8173
|  | 5 | 851.88 | 35.6906
|  | 6 | 937.76 | 33.9409
|  | 7 | 1073.96 | 37.1147
|  | 8 | 1400.31 | 36.6154
|  | 9 | 1549.55 | 40.3193
|  | 10 | 1535.15 | 35.8131
|  | 11 | 1619.59 | 34.8411
|  | 12 | 1629.74 | 33.9174
|  | 13 | 1587 | 35.3651
|  | 14 | 1575.31 | 38.0584
|  | 15 | 1613 | 40.3683
|  | 16 | 1653.9 | 41.4241
|  | 17 | 1769.47 | 39.8905
|  | 18 | 1858.05 | 40.2319
|  | 19 | 1833.43 | 37.2656
|  | 20 | 1791.67 | 35.9932
|  | 21 | 1757.53 | 38.6515
|  | 22 | 1638.4 | 37.5651
|  | 23 | 1435.26 | 37.9917
|  | 24 | 1143.78 | 42.7585
|  | 25 | 1022.69 | 41.802
|  | 26 | 903.01 | 39.6971
|  | 27 | 835.24 | 38.5521
|  | 28 | 812.55 | 38.8197
|  | 29 | 825.19 | 38.8081
|  | 30 | 908.77 | 37.876
|  | 31 | 1059.91 | 44.444
|  | 32 | 1408.7 | 41.7327
|  | 33 | 1548.16 | 43.2527
|  | 34 | 1477.48 | 43.4187
|  | 35 | 1439.39 | 43.3504
|  | 36 | 1419.66 | 39.64
|  | 37 | 1466.47 | 38.3443
|  | 38 | 1428.3 | 39.9533
|  | 39 | 1475.19 | 41.9741
|  | 40 | 1488.56 | 38.9694
|  | 41 | 1559.24 | 36.6815
|  | 42 | 1703.23 | 38.7566
|  | 43 | 1769.98 | 38.8271
|  | 44 | 1716.47 | 38.0218
|  | 45 | 1681.3 | 37.7699
|  | 46 | 1579.85 | 37.3121
|  | 47 | 1332.86 | 37.3728
|  | 48 | 1085.35 | 40.2538
|  | 49 | 1027.64 | 45.0137
|  | 50 | 896.7 | 42.1824
|  | 51 | 794.06 | 38.9012
|  | 52 | 746.92 | 38.7357
|  | 53 | 770.98 | 40.3378
|  | 54 | 823.51 | 41.6812
|  | 55 | 988.62 | 41.3144
|  | 56 | 1296.34 | 42.1241
|  | 57 | 1427.26 | 43.6069
|  | 58 | 1427.88 | 44.769
|  | 59 | 1354.47 | 45.0273
|  | 60 | 1239.61 | 40.9065
|  | 61 | 1211.68 | 40.778
|  | 62 | 1278.03 | 41.0852
|  | 63 | 1317.95 | 41.1112
|  | 64 | 1443.42 | 45.0897
|  | 65 | 1535.69 | 48.3856
|  | 66 | 1664.97 | 48.0593
|  | 67 | 1632.33 | 44.9113
|  | 68 | 1756.87 | 43.7667
|  | 69 | 1557.87 | 43.2003
|  | 70 | 1431.39 | 40.7643
|  | 71 | 1200.72 | 38.3428
|  | 72 | 942.4 | 39.2162
|  | 73 | 914.36 | 50.5319
|  | 74 | 809.76 | 48.8036
|  | 75 | 762.98 | 51.9243
|  | 76 | 749.68 | 52.4512
|  | 77 | 760.61 | 52.091
|  | 78 | 846.03 | 50.4006
|  | 79 | 1002.76 | 45.0729
|  | 80 | 1278.74 | 40.0566
|  | 81 | 1385.01 | 42.7008
|  | 82 | 1347.04 | 44.6073
|  | 83 | 1291.46 | 45.4648
|  | 84 | 1249.27 | 44.136
|  | 85 | 1272.76 | 40.6353
|  | 86 | 1401.43 | 38.5372
|  | 87 | 1389.94 | 36.0732
|  | 88 | 1345.88 | 37.8649
|  | 89 | 1434.81 | 42.7004
|  | 90 | 1559.24 | 56.9091
|  | 91 | 1534.13 | 59.8028
|  | 92 | 1516.89 | 58.5842
|  | 93 | 1453.71 | 57.2378
|  | 94 | 1325.63 | 53.9806
|  | 95 | 1106.75 | 52.7657
|  | 96 | 874.67 | 50.7782
|  | 97 | 867.35 | 52.2459
|  | 98 | 761.46 | 57.4275
|  | 99 | 718.32 | 57.0775
|  | 100 | 697.87 | 52.4725
|  | 101 | 708.14 | 51.9168
|  | 102 | 779.3 | 46.4806
|  | 103 | 861.54 | 41.9374
|  | 104 | 1076.64 | 47.7646
|  | 105 | 1247.71 | 55.8393
|  | 106 | 1259.48 | 55.4364
|  | 107 | 1245.69 | 56.3427
|  | 108 | 1149.01 | 57.1529
|  | 109 | 1123.28 | 54.6999
|  | 110 | 1118.79 | 54.152
|  | 111 | 1143.22 | 53.612
|  | 112 | 1183.21 | 51.8107
|  | 113 | 1281.81 | 56.3865
|  | 114 | 1456.92 | 60.2492
|  | 115 | 1507.96 | 61.8873
|  | 116 | 1466.28 | 64.7671
|  | 117 | 1426.38 | 64.4959
|  | 118 | 1352.54 | 69.5404
|  | 119 | 1219.8 | 67.3027
|  | 120 | 1051.08 | 63.4123
|  | 121 | 899.84 | 40.0715
|  | 122 | 791.79 | 35.7932
|  | 123 | 720.48 | 32.7149
|  | 124 | 692.7 | 30.8098
|  | 125 | 695.01 | 30.9381
|  | 126 | 743.69 | 31.2629
|  | 127 | 809.99 | 33.8792
|  | 128 | 969.93 | 36.3692
|  | 129 | 1129.24 | 42.7805
|  | 130 | 1161.25 | 45.9595
|  | 131 | 1097.76 | 49.9958
|  | 132 | 1061.24 | 50.8803
|  | 133 | 1033.33 | 53.6551
|  | 134 | 1101.9 | 49.6869
|  | 135 | 1196.33 | 43.9008
|  | 136 | 1271.35 | 47.1042
|  | 137 | 1375.21 | 52.9634
|  | 138 | 1502.56 | 52.9893
|  | 139 | 1519.02 | 58.4913
|  | 140 | 1516.96 | 60.9411
|  | 141 | 1510.32 | 55.7436
|  | 142 | 1424.35 | 56.5308
|  | 143 | 1281.89 | 52.7515
|  | 144 | 1000.04 | 48.835
|  | 145 | 868.12 | 44.5648
|  | 146 | 768.83 | 44.6839
|  | 147 | 714.33 | 41.8427
|  | 148 | 694.92 | 39.3132
|  | 149 | 703.73 | 36.1384
|  | 150 | 784.55 | 36.1719
|  | 151 | 994.22 | 41.175
|  | 152 | 1319.57 | 42.8306
|  | 153 | 1432.18 | 44.9715
|  | 154 | 1402.44 | 44.5314
|  | 155 | 1293.82 | 41.9532
|  | 156 | 1245.07 | 41.8163
|  | 157 | 1239.2 | 43.9067
|  | 158 | 1276.74 | 42.8536
|  | 159 | 1310.88 | 45.5371
|  | 160 | 1350.42 | 50.0241
|  | 161 | 1441.07 | 51.0169
|  | 162 | 1626.64 | 53.8846
|  | 163 | 1635.49 | 51.0528
|  | 164 | 1619.6 | 49.0423
|  | 165 | 1580.42 | 45.6152
|  | 166 | 1423.22 | 45.355
|  | 167 | 1225.46 | 43.2426
|  | 168 | 1003.1 | 41.0518
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 19.01.2026 | 20.01.20262 | 22.06.2026 | 22.06.2026 | 23.01.2026 | 24.01.20262 | 25.01.2026
Min (MW) | 28.3737 | 36.6815 | 38.3428 | 36.0732 | 41.9374 | 30.8098 | 36.1384
Max (MW) | 42.7585 | 44.444 | 48.3856 | 59.8028 | 69.5404 | 60.9411 | 53.8846
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible