## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-04-04
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21430.78 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 30.03.2026 | 31.03.2026 | 01.04.2026 | 02.04.2026 | 03.04.2026 | 04.04.2026 | 05.04.2026
Min (MW) | 595.4349 | 572.0671 | 578.9833 | 559.994 | 571.0687 | 575.485 | 568.3639
Max (MW) | 1226.0755 | 1276.277 | 1262.2957 | 1401.123 | 1309.5072 | 1301.6039 | 1354.7072
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2026
|  | Java | Min (MW) | Max (MW)
|  | 1 | 537 | 1377
|  | 2 | 521 | 1460
|  | 3 | 539 | 1543
|  | 4 | 513 | 1433
|  | 5 | 500 | 1312
|  | 6 | 506 | 1396
|  | 7 | 532 | 1499
|  | 8 | 503 | 1542
|  | 9 | 532 | 1474
|  | 10 | 557 | 1382
|  | 11 | 500 | 1259
|  | 12 | 500 | 1358
|  | 13 | 533 | 1253
|  | 14 | 400 | 1171
|  | 15 | 502 | 1390
|  | 16 | 481 | 1146
|  | 17 | 474 | 1011
|  | 18 | 500 | 917
|  | 19 | 512 | 947
|  | 20 | 481 | 981
|  | 21 | 476 | 974
|  | 22 | 470 | 966
|  | 23 | 489 | 985
|  | 24 | 521 | 1093
|  | 25 | 565 | 1105
|  | 26 | 561 | 1204
|  | 27 | 615 | 1214
|  | 28 | 572 | 1251
|  | 29 | 574 | 1210
|  | 30 | 618 | 1355
|  | 31 | 618 | 1179
|  | 32 | 602 | 1279
|  | 33 | 658 | 1446
|  | 34 | 627 | 1271
|  | 35 | 572 | 1147
|  | 36 | 511 | 1089
|  | 37 | 557 | 1113
|  | 38 | 538 | 1113
|  | 39 | 532 | 1077
|  | 40 | 488 | 1202
|  | 41 | 481 | 1190
|  | 42 | 506 | 1157
|  | 43 | 513 | 1162
|  | 44 | 448 | 1154
|  | 45 | 466 | 1143
|  | 46 | 496 | 1229
|  | 47 | 498 | 1249
|  | 48 | 522 | 1375
|  | 49 | 532 | 1408
|  | 50 | 543 | 1457
|  | 51 | 599 | 1591
|  | 52 | 602 | 1571
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-04-02
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 940.805 | 162.57 | 778.235
|  | 2 | 873.4104 | 197.6 | 675.8104
|  | 3 | 757.1146 | 146.08 | 611.0346
|  | 4 | 750.4386 | 160.801 | 589.6376
|  | 5 | 745.3335 | 155.797 | 589.5365
|  | 6 | 885.4458 | 267.432 | 618.0138
|  | 7 | 1076.8593 | 323.721 | 753.1383
|  | 8 | 1248.8942 | 289.109 | 959.7852
|  | 9 | 1440.3385 | 302.848 | 1137.4905
|  | 10 | 1448.2498 | 263.359 | 1184.8908
|  | 11 | 1439.0178 | 242.778 | 1196.2398
|  | 12 | 1413.939 | 232.351 | 1181.588
|  | 13 | 1379.1257 | 233.959 | 1145.1667
|  | 14 | 1390.4855 | 233.026 | 1157.4595
|  | 15 | 1400.1945 | 230.047 | 1170.1475
|  | 16 | 1442.2211 | 273.433 | 1168.7881
|  | 17 | 1446.7575 | 273.015 | 1173.7425
|  | 18 | 1559.8025 | 352.796 | 1207.0065
|  | 19 | 1591.5985 | 327.159 | 1264.4395
|  | 20 | 1628.2073 | 273.012 | 1355.1953
|  | 21 | 1655.1083 | 278.922 | 1376.1863
|  | 22 | 1609.0264 | 327.518 | 1281.5084
|  | 23 | 1449.5409 | 345.034 | 1104.5069
|  | 24 | 1233.87 | 330.152 | 903.718
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 27/04/2026 | 28/04/2026 |  |  | Remont
| Koplik - Podgorica1 | 29/10/2026 | 30/10/2026 |  |  | Remont
| Tirana2 - Podgorica2 | 18/05/2026 | 22/05/2026 |  |  | Remont
| Prizren - Fierza | 25/05/2026 | 26/05/2026 |  |  | Remont
| Prizren - Fierza | 14/10/2026 | 16/10/2026 |  |  | Remont
| Bistrica - Myrtos | 29/09/2026 | 30/09/2026 |  |  | Remont
| Zemblak - Kardia | 29/09/2026 | 30/09/2026 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -4.6509 | 172.8834 | -29.7084 | 48.6646 | 103.8778 | -43.4385
2 | 11.8843 | 137.157 | -58.4219 | 29.7723 | 47.9593 | 48.6666
3 | 14.5658 | 113.6284 | -61.1046 | 17.8924 | 30.9201 | 75.7074
4 | 19.4968 | 103.7085 | -70.123 | 14.3668 | 1.465 | 113.6301
5 | 21.6567 | 97.837 | -76.5281 | 4.4771 | -13.9319 | 134.8998
6 | 24.3028 | 104.6771 | -96.1676 | 1.4644 | -46.3142 | 184.5985
7 | 31.5132 | 142.123 | -117.6779 | 10.7606 | -64.5416 | 266.7597
8 | 13.78 | 171.0731 | -111.2433 | 42.0941 | -53.2842 | 265.9533
9 | 16.7784 | 185.6064 | -59.0925 | 40.4393 | -0.74726 | 201.56
10 | 43.6992 | 165.2932 | -50.2529 | 4.5287 | 24.2484 | 149.7065
11 | 56.722 | 144.3824 | -97.1795 | -34.5526 | -58.964 | 244.6966
12 | 52.8457 | 128.6705 | -82.4372 | -49.642 | -31.92 | 207.6074
13 | 50.7725 | 125.8894 | -121.6909 | -32.5431 | -162.4762 | 230.2988
14 | 48.9378 | 125.7234 | -101.1151 | -15.7087 | -93.4806 | 125.1752
15 | 54.8031 | 124.2133 | -111.9476 | -15.3377 | -102.3832 | 133.425
16 | 51.4496 | 106.9912 | -112.6931 | -42.2779 | -108.9366 | 130.0665
17 | 51.5026 | 103.8781 | -115.2992 | -59.7123 | -39.5378 | 92.8508
18 | 31.1235 | 154.9659 | -115.5732 | 30.1336 | -115.1539 | 293.4419
19 | 38.8918 | 193.5074 | -136.232 | 91.3619 | -261.1365 | 365.3082
20 | 17.4194 | 210.821 | -99.5333 | 96.2197 | -199.5625 | 254.1592
21 | 13.525 | 239.4895 | -95.8901 | 43.3779 | -120.5192 | 190.7917
22 | 15.9471 | 239.977 | -102.9314 | 38.0718 | -140.5663 | 221.5781
23 | 18.6774 | 239.9777 | -76.0484 | 0.30321 | -47.9217 | 141.8864
24 | 16.9388 | 225.4799 | -78.4612 | -17.0957 | -43.1182 | 102.187
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-04-04
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 849.34
|  |  | 01:00 - 02:00 | 772.57
|  |  | 02:00 - 03:00 | 709.71
|  |  | 03:00 - 04:00 | 671.6
|  |  | 04:00 - 05:00 | 659.19
|  |  | 05:00 - 06:00 | 752.24
|  |  | 06:00 - 07:00 | 890.88
|  |  | 07:00 - 08:00 | 1091.25
|  |  | 08:00 - 09:00 | 1146.1
|  |  | 09:00 - 10:00 | 1142.84
|  |  | 10:00 - 11:00 | 1081.06
|  |  | 11:00 - 12:00 | 979.28
|  |  | 12:00 - 13:00 | 949.49
|  |  | 13:00 - 14:00 | 997.92
|  |  | 14:00 - 15:00 | 993.9
|  |  | 15:00 - 16:00 | 929.4
|  |  | 16:00 - 17:00 | 936.2
|  |  | 17:00 - 18:00 | 1073.75
|  |  | 18:00 - 19:00 | 1039.78
|  |  | 19:00 - 20:00 | 1164.2
|  |  | 20:00 - 21:00 | 1293.57
|  |  | 21:00 - 22:00 | 1222.18
|  |  | 22:00 - 23:00 | 1117.06
|  |  | 23:00 - 00:00 | 957.32
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 112.2652 | 112.6498 | 0 | 112.3823 | 0 | 0.024837 | 0 | 0
2 | 0.34701 | 120.4977 | 0 | 119.9548 | 0 | 0 | 0 | 0
3 | 0 | 100.3557 | 0 | 100.043 | 0 | 0 | 0 | 0
4 | 0 | 100.2689 | 0 | 99.841 | 0 | 0 | 0 | 0
5 | 0 | 100.3169 | 0 | 99.871 | 0 | 0 | 0 | 0
6 | 4.2505 | 110.4185 | 0 | 109.8326 | 0 | 0 | 0 | 0
7 | 115.0515 | 115.5149 | 0 | 119.8689 | 0 | 0.47971 | 0 | 3.7479
8 | 115.0905 | 121.2754 | 0 | 119.9444 | 0 | 93.0402 | 0 | 117.4516
9 | 120.2067 | 121.3263 | 0 | 119.9742 | 0 | 97.2732 | 0 | 90.6204
10 | 103.537 | 104.0976 | 0 | 103.5784 | 0 | 89.3047 | 0 | 91.3527
11 | 56.9879 | 95.2877 | 0 | 94.8738 | 0 | 91.7164 | 0 | 97.1532
12 | 0 | 95.2466 | 0 | 94.8123 | 0 | 89.6414 | 0 | 92.7429
13 | 0 | 100.3372 | 0 | 99.8448 | 0 | 89.2976 | 0 | 90.4827
14 | 0 | 95.3093 | 0 | 94.8203 | 0 | 89.2834 | 0 | 90.983
15 | 0 | 100.2568 | 0 | 99.7629 | 0 | 89.4395 | 0 | 95.0038
16 | 0 | 100.3342 | 0 | 99.8483 | 0 | 89.2863 | 0 | 91.3229
17 | 0 | 100.355 | 0 | 99.8374 | 0 | 94.942 | 0 | 112.1545
18 | 6.4662 | 100.3545 | 0 | 99.8171 | 0 | 113.6298 | 0 | 115.3929
19 | 110.0306 | 110.4599 | 0 | 109.8352 | 0 | 116.7579 | 0.55671 | 114.9604
20 | 110.0734 | 110.4601 | 0 | 109.8835 | 30.7963 | 109.9571 | 99.3442 | 113.649
21 | 120.079 | 120.2978 | 0 | 119.6468 | 98.9053 | 89.7975 | 99.4429 | 92.8649
22 | 120.214 | 120.548 | 0 | 119.8893 | 95.091 | 112.5086 | 1.4398 | 109.4409
23 | 120.1809 | 120.5341 | 0 | 119.8997 | 0.53329 | 93.0509 | 0 | 98.0122
24 | 112.8769 | 113.2715 | 0 | 112.639 | 0 | 0.62093 | 0 | 111.3995
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1327.6573 | 2589.7743 | 0 | 2580.7007 | 225.3259 | 1550.0521 | 200.7836 | 1728.7353
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1497 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1373 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 1046.31 | 23.749
|  | 2 | 968 | 24.9906
|  | 3 | 909.75 | 25.1345
|  | 4 | 896.91 | 25.4309
|  | 5 | 908.38 | 23.1282
|  | 6 | 989.62 | 22.1923
|  | 7 | 1224.38 | 21.631
|  | 8 | 1475.42 | 22.4844
|  | 9 | 1445.57 | 25.4665
|  | 10 | 1257.29 | 25.6201
|  | 11 | 1157.43 | 22.2323
|  | 12 | 1113.14 | 17.9757
|  | 13 | 1090.8 | 18.9822
|  | 14 | 1169.12 | 17.8016
|  | 15 | 1188.38 | 15.028
|  | 16 | 1383.08 | 14.7826
|  | 17 | 1435.7 | 16.0218
|  | 18 | 1538.79 | 20.2026
|  | 19 | 1602.27 | 23.8926
|  | 20 | 1622.37 | 24.4268
|  | 21 | 1582.49 | 22.7984
|  | 22 | 1479.45 | 22.0984
|  | 23 | 1353.11 | 21.9839
|  | 24 | 1174.25 | 23.3109
|  | 25 | 1031.66 | 22.471
|  | 26 | 954.39 | 23.6156
|  | 27 | 916.32 | 24.2181
|  | 28 | 884.19 | 22.5954
|  | 29 | 892.3 | 22.3925
|  | 30 | 971.41 | 23.871
|  | 31 | 1187.24 | 22.4051
|  | 32 | 1200.73 | 24.838
|  | 33 | 1166.35 | 31.5397
|  | 34 | 1108.06 | 27.9261
|  | 35 | 1016.32 | 29.7446
|  | 36 | 901.5 | 30.0702
|  | 37 | 889.77 | 24.2709
|  | 38 | 983.41 | 21.8518
|  | 39 | 1067.41 | 20.7069
|  | 40 | 1112.9 | 18.0555
|  | 41 | 1381.99 | 21.4971
|  | 42 | 1376.37 | 23.0871
|  | 43 | 1549.24 | 26.4579
|  | 44 | 1625.76 | 26.48
|  | 45 | 1625.89 | 24.89
|  | 46 | 1481.06 | 22.9191
|  | 47 | 1307.65 | 22.5869
|  | 48 | 1131.09 | 22.8421
|  | 49 | 954.75 | 21.3514
|  | 50 | 886.5 | 20.6614
|  | 51 | 812.82 | 18.2676
|  | 52 | 796.52 | 17.6468
|  | 53 | 822.33 | 17.9153
|  | 54 | 950.03 | 20.2982
|  | 55 | 1168.56 | 21.2621
|  | 56 | 1335.39 | 25.2309
|  | 57 | 1366.79 | 30.5206
|  | 58 | 1323.52 | 24.4363
|  | 59 | 1318.19 | 16.4292
|  | 60 | 1249.73 | 16.3169
|  | 61 | 1282.18 | 17.8803
|  | 62 | 1324.23 | 15.5643
|  | 63 | 1360.78 | 14.1907
|  | 64 | 1398.02 | 16.3705
|  | 65 | 1414.68 | 20.6519
|  | 66 | 1548.95 | 24.9527
|  | 67 | 1676.58 | 28.2134
|  | 68 | 1715.82 | 28.437
|  | 69 | 1623.18 | 27.3917
|  | 70 | 1477.69 | 25.9163
|  | 71 | 1316.08 | 27.5411
|  | 72 | 1104.96 | 26.3857
|  | 73 | 841.63 | 22.8218
|  | 74 | 777.23 | 23.3116
|  | 75 | 731.84 | 23.9078
|  | 76 | 728.83 | 25.2326
|  | 77 | 672.74 | 21.9193
|  | 78 | 886.48 | 16.6691
|  | 79 | 1067.97 | 16.041
|  | 80 | 1194.14 | 20.1656
|  | 81 | 1295.7 | 26.7342
|  | 82 | 1295.33 | 25.7978
|  | 83 | 1245.04 | 27.6458
|  | 84 | 1259.51 | 19.9079
|  | 85 | 1272.32 | 22.6198
|  | 86 | 1288.56 | 26.2727
|  | 87 | 1341.18 | 29.9698
|  | 88 | 1280.99 | 25.5396
|  | 89 | 1482.49 | 21.7122
|  | 90 | 1597.37 | 23.9491
|  | 91 | 1679.32 | 28.9036
|  | 92 | 1671.82 | 29.1967
|  | 93 | 1638.11 | 28.6222
|  | 94 | 1524.34 | 29.7143
|  | 95 | 1371.86 | 26.2885
|  | 96 | 1190.37 | 18.6039
|  | 97 | 912.87 | 19.8449
|  | 98 | 829.51 | 17.721
|  | 99 | 782.94 | 16.5502
|  | 100 | 761.56 | 14.4554
|  | 101 | 777.96 | 14.6982
|  | 102 | 836.8 | 17.5593
|  | 103 | 971.09 | 22.8372
|  | 104 | 1161.84 | 24.4832
|  | 105 | 1209.72 | 21.1659
|  | 106 | 1204.19 | 20.7197
|  | 107 | 1066.77 | 21.9616
|  | 108 | 1050.58 | 21.9799
|  | 109 | 1032.61 | 20.1587
|  | 110 | 1106.35 | 20.0502
|  | 111 | 1157.19 | 20.9145
|  | 112 | 1168.8 | 25.7258
|  | 113 | 1336.79 | 20.2866
|  | 114 | 1430.7 | 21.6861
|  | 115 | 1580.23 | 29.7618
|  | 116 | 1600.01 | 33.1638
|  | 117 | 1581.95 | 29.0015
|  | 118 | 1476.24 | 28.5158
|  | 119 | 1272.14 | 28.3898
|  | 120 | 1112.36 | 26.965
|  | 121 | 928.7 | 24.5987
|  | 122 | 857 | 22.4692
|  | 123 | 795.87 | 21.6845
|  | 124 | 789.06 | 20.8549
|  | 125 | 810.96 | 26.912
|  | 126 | 943.18 | 26.3783
|  | 127 | 1086.15 | 30.5247
|  | 128 | 1281.09 | 37.9382
|  | 129 | 1266.9 | 45.6708
|  | 130 | 1035.04 | 58.7424
|  | 131 | 1046.66 | 38.9084
|  | 132 | 1086.2 | 39.1538
|  | 133 | 988.5 | 40.7893
|  | 134 | 996.7 | 41.283
|  | 135 | 1070.68 | 38.8373
|  | 136 | 1090.32 | 30.875
|  | 137 | 1197.34 | 23.8477
|  | 138 | 1303.2 | 23.6122
|  | 139 | 1464.59 | 30.581
|  | 140 | 1477.3 | 30.5168
|  | 141 | 1484.14 | 29.0515
|  | 142 | 1382.64 | 26.7667
|  | 143 | 1147.04 | 19.1582
|  | 144 | 896.89 | 14.4891
|  | 145 | 826.18 | 11.7609
|  | 146 | 786.03 | 11.7632
|  | 147 | 761.87 | 13.0309
|  | 148 | 759.24 | 12.8667
|  | 149 | 836.55 | 14.7941
|  | 150 | 1062.2 | 14.3823
|  | 151 | 1339.12 | 17.0582
|  | 152 | 1426.64 | 25.7573
|  | 153 | 1464.41 | 37.9201
|  | 154 | 1372.39 | 45.4846
|  | 155 | 1316.61 | 44.786
|  | 156 | 1255.83 | 42.3147
|  | 157 | 1275.76 | 42.6538
|  | 158 | 1242.76 | 38.2254
|  | 159 | 1202.93 | 35.8228
|  | 160 | 1182.68 | 36.3563
|  | 161 | 1361.27 | 30.6108
|  | 162 | 1437.61 | 30.588
|  | 163 | 1589.07 | 38.0922
|  | 164 | 1644.88 | 43.0046
|  | 165 | 1560.68 | 48.9208
|  | 166 | 1399.76 | 46.9828
|  | 167 | 1185.52 | 43.1015
|  | 168 | 888.18 | 37.2469
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 30.03.2026 | 31.03.2026 | 01.04.2026 | 02.04.2026 | 03.04.2026 | 04.04.2026 | 05.04.2026
Min (MW) | 14.7826 | 18.0555 | 14.1907 | 16.041 | 14.4554 | 14.4891 | 11.7609
Max (MW) | 25.6201 | 31.5397 | 30.5206 | 29.9698 | 33.1638 | 58.7424 | 48.9208
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-04-04
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21430.78 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 30.03.2026 | 31.03.2026 | 01.04.2026 | 02.04.2026 | 03.04.2026 | 04.04.2026 | 05.04.2026
Min (MW) | 595.4349 | 572.0671 | 578.9833 | 559.994 | 571.0687 | 575.485 | 568.3639
Max (MW) | 1226.0755 | 1276.277 | 1262.2957 | 1401.123 | 1309.5072 | 1301.6039 | 1354.7072
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 537 | 1377
|  | 2 | 521 | 1460
|  | 3 | 539 | 1543
|  | 4 | 513 | 1433
|  | 5 | 500 | 1312
|  | 6 | 506 | 1396
|  | 7 | 532 | 1499
|  | 8 | 503 | 1542
|  | 9 | 532 | 1474
|  | 10 | 557 | 1382
|  | 11 | 500 | 1259
|  | 12 | 500 | 1358
|  | 13 | 533 | 1253
|  | 14 | 400 | 1171
|  | 15 | 502 | 1390
|  | 16 | 481 | 1146
|  | 17 | 474 | 1011
|  | 18 | 500 | 917
|  | 19 | 512 | 947
|  | 20 | 481 | 981
|  | 21 | 476 | 974
|  | 22 | 470 | 966
|  | 23 | 489 | 985
|  | 24 | 521 | 1093
|  | 25 | 565 | 1105
|  | 26 | 561 | 1204
|  | 27 | 615 | 1214
|  | 28 | 572 | 1251
|  | 29 | 574 | 1210
|  | 30 | 618 | 1355
|  | 31 | 618 | 1179
|  | 32 | 602 | 1279
|  | 33 | 658 | 1446
|  | 34 | 627 | 1271
|  | 35 | 572 | 1147
|  | 36 | 511 | 1089
|  | 37 | 557 | 1113
|  | 38 | 538 | 1113
|  | 39 | 532 | 1077
|  | 40 | 488 | 1202
|  | 41 | 481 | 1190
|  | 42 | 506 | 1157
|  | 43 | 513 | 1162
|  | 44 | 448 | 1154
|  | 45 | 466 | 1143
|  | 46 | 496 | 1229
|  | 47 | 498 | 1249
|  | 48 | 522 | 1375
|  | 49 | 532 | 1408
|  | 50 | 543 | 1457
|  | 51 | 599 | 1591
|  | 52 | 602 | 1571
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-04-02
|  | Hour | Production | Exchange | Consumption
|  | 1 | 940.805 | 162.57 | 778.235
|  | 2 | 873.4104 | 197.6 | 675.8104
|  | 3 | 757.1146 | 146.08 | 611.0346
|  | 4 | 750.4386 | 160.801 | 589.6376
|  | 5 | 745.3335 | 155.797 | 589.5365
|  | 6 | 885.4458 | 267.432 | 618.0138
|  | 7 | 1076.8593 | 323.721 | 753.1383
|  | 8 | 1248.8942 | 289.109 | 959.7852
|  | 9 | 1440.3385 | 302.848 | 1137.4905
|  | 10 | 1448.2498 | 263.359 | 1184.8908
|  | 11 | 1439.0178 | 242.778 | 1196.2398
|  | 12 | 1413.939 | 232.351 | 1181.588
|  | 13 | 1379.1257 | 233.959 | 1145.1667
|  | 14 | 1390.4855 | 233.026 | 1157.4595
|  | 15 | 1400.1945 | 230.047 | 1170.1475
|  | 16 | 1442.2211 | 273.433 | 1168.7881
|  | 17 | 1446.7575 | 273.015 | 1173.7425
|  | 18 | 1559.8025 | 352.796 | 1207.0065
|  | 19 | 1591.5985 | 327.159 | 1264.4395
|  | 20 | 1628.2073 | 273.012 | 1355.1953
|  | 21 | 1655.1083 | 278.922 | 1376.1863
|  | 22 | 1609.0264 | 327.518 | 1281.5084
|  | 23 | 1449.5409 | 345.034 | 1104.5069
|  | 24 | 1233.87 | 330.152 | 903.718
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -4.6509 | 172.8834 | -29.7084 | 48.6646 | 103.8778 | -43.4385
2 | 11.8843 | 137.157 | -58.4219 | 29.7723 | 47.9593 | 48.6666
3 | 14.5658 | 113.6284 | -61.1046 | 17.8924 | 30.9201 | 75.7074
4 | 19.4968 | 103.7085 | -70.123 | 14.3668 | 1.465 | 113.6301
5 | 21.6567 | 97.837 | -76.5281 | 4.4771 | -13.9319 | 134.8998
6 | 24.3028 | 104.6771 | -96.1676 | 1.4644 | -46.3142 | 184.5985
7 | 31.5132 | 142.123 | -117.6779 | 10.7606 | -64.5416 | 266.7597
8 | 13.78 | 171.0731 | -111.2433 | 42.0941 | -53.2842 | 265.9533
9 | 16.7784 | 185.6064 | -59.0925 | 40.4393 | -0.74726 | 201.56
10 | 43.6992 | 165.2932 | -50.2529 | 4.5287 | 24.2484 | 149.7065
11 | 56.722 | 144.3824 | -97.1795 | -34.5526 | -58.964 | 244.6966
12 | 52.8457 | 128.6705 | -82.4372 | -49.642 | -31.92 | 207.6074
13 | 50.7725 | 125.8894 | -121.6909 | -32.5431 | -162.4762 | 230.2988
14 | 48.9378 | 125.7234 | -101.1151 | -15.7087 | -93.4806 | 125.1752
15 | 54.8031 | 124.2133 | -111.9476 | -15.3377 | -102.3832 | 133.425
16 | 51.4496 | 106.9912 | -112.6931 | -42.2779 | -108.9366 | 130.0665
17 | 51.5026 | 103.8781 | -115.2992 | -59.7123 | -39.5378 | 92.8508
18 | 31.1235 | 154.9659 | -115.5732 | 30.1336 | -115.1539 | 293.4419
19 | 38.8918 | 193.5074 | -136.232 | 91.3619 | -261.1365 | 365.3082
20 | 17.4194 | 210.821 | -99.5333 | 96.2197 | -199.5625 | 254.1592
21 | 13.525 | 239.4895 | -95.8901 | 43.3779 | -120.5192 | 190.7917
22 | 15.9471 | 239.977 | -102.9314 | 38.0718 | -140.5663 | 221.5781
23 | 18.6774 | 239.9777 | -76.0484 | 0.30321 | -47.9217 | 141.8864
24 | 16.9388 | 225.4799 | -78.4612 | -17.0957 | -43.1182 | 102.187
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-04-04
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 849.34
|  |  | 01:00 - 02:00 | 772.57
|  |  | 02:00 - 03:00 | 709.71
|  |  | 03:00 - 04:00 | 671.6
|  |  | 04:00 - 05:00 | 659.19
|  |  | 05:00 - 06:00 | 752.24
|  |  | 06:00 - 07:00 | 890.88
|  |  | 07:00 - 08:00 | 1091.25
|  |  | 08:00 - 09:00 | 1146.1
|  |  | 09:00 - 10:00 | 1142.84
|  |  | 10:00 - 11:00 | 1081.06
|  |  | 11:00 - 12:00 | 979.28
|  |  | 12:00 - 13:00 | 949.49
|  |  | 13:00 - 14:00 | 997.92
|  |  | 14:00 - 15:00 | 993.9
|  |  | 15:00 - 16:00 | 929.4
|  |  | 16:00 - 17:00 | 936.2
|  |  | 17:00 - 18:00 | 1073.75
|  |  | 18:00 - 19:00 | 1039.78
|  |  | 19:00 - 20:00 | 1164.2
|  |  | 20:00 - 21:00 | 1293.57
|  |  | 21:00 - 22:00 | 1222.18
|  |  | 22:00 - 23:00 | 1117.06
|  |  | 23:00 - 00:00 | 957.32
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 112.2652 | 112.6498 | 0 | 112.3823 | 0 | 0.024837 | 0 | 0
2 | 0.34701 | 120.4977 | 0 | 119.9548 | 0 | 0 | 0 | 0
3 | 0 | 100.3557 | 0 | 100.043 | 0 | 0 | 0 | 0
4 | 0 | 100.2689 | 0 | 99.841 | 0 | 0 | 0 | 0
5 | 0 | 100.3169 | 0 | 99.871 | 0 | 0 | 0 | 0
6 | 4.2505 | 110.4185 | 0 | 109.8326 | 0 | 0 | 0 | 0
7 | 115.0515 | 115.5149 | 0 | 119.8689 | 0 | 0.47971 | 0 | 3.7479
8 | 115.0905 | 121.2754 | 0 | 119.9444 | 0 | 93.0402 | 0 | 117.4516
9 | 120.2067 | 121.3263 | 0 | 119.9742 | 0 | 97.2732 | 0 | 90.6204
10 | 103.537 | 104.0976 | 0 | 103.5784 | 0 | 89.3047 | 0 | 91.3527
11 | 56.9879 | 95.2877 | 0 | 94.8738 | 0 | 91.7164 | 0 | 97.1532
12 | 0 | 95.2466 | 0 | 94.8123 | 0 | 89.6414 | 0 | 92.7429
13 | 0 | 100.3372 | 0 | 99.8448 | 0 | 89.2976 | 0 | 90.4827
14 | 0 | 95.3093 | 0 | 94.8203 | 0 | 89.2834 | 0 | 90.983
15 | 0 | 100.2568 | 0 | 99.7629 | 0 | 89.4395 | 0 | 95.0038
16 | 0 | 100.3342 | 0 | 99.8483 | 0 | 89.2863 | 0 | 91.3229
17 | 0 | 100.355 | 0 | 99.8374 | 0 | 94.942 | 0 | 112.1545
18 | 6.4662 | 100.3545 | 0 | 99.8171 | 0 | 113.6298 | 0 | 115.3929
19 | 110.0306 | 110.4599 | 0 | 109.8352 | 0 | 116.7579 | 0.55671 | 114.9604
20 | 110.0734 | 110.4601 | 0 | 109.8835 | 30.7963 | 109.9571 | 99.3442 | 113.649
21 | 120.079 | 120.2978 | 0 | 119.6468 | 98.9053 | 89.7975 | 99.4429 | 92.8649
22 | 120.214 | 120.548 | 0 | 119.8893 | 95.091 | 112.5086 | 1.4398 | 109.4409
23 | 120.1809 | 120.5341 | 0 | 119.8997 | 0.53329 | 93.0509 | 0 | 98.0122
24 | 112.8769 | 113.2715 | 0 | 112.639 | 0 | 0.62093 | 0 | 111.3995
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1215.392 | 2477.1245 | 0 | 2468.3184 | 225.3259 | 1550.0272 | 200.7836 | 1728.7353
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1497 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1373 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 1046.31 | 23.749
|  | 2 | 968 | 24.9906
|  | 3 | 909.75 | 25.1345
|  | 4 | 896.91 | 25.4309
|  | 5 | 908.38 | 23.1282
|  | 6 | 989.62 | 22.1923
|  | 7 | 1224.38 | 21.631
|  | 8 | 1475.42 | 22.4844
|  | 9 | 1445.57 | 25.4665
|  | 10 | 1257.29 | 25.6201
|  | 11 | 1157.43 | 22.2323
|  | 12 | 1113.14 | 17.9757
|  | 13 | 1090.8 | 18.9822
|  | 14 | 1169.12 | 17.8016
|  | 15 | 1188.38 | 15.028
|  | 16 | 1383.08 | 14.7826
|  | 17 | 1435.7 | 16.0218
|  | 18 | 1538.79 | 20.2026
|  | 19 | 1602.27 | 23.8926
|  | 20 | 1622.37 | 24.4268
|  | 21 | 1582.49 | 22.7984
|  | 22 | 1479.45 | 22.0984
|  | 23 | 1353.11 | 21.9839
|  | 24 | 1174.25 | 23.3109
|  | 25 | 1031.66 | 22.471
|  | 26 | 954.39 | 23.6156
|  | 27 | 916.32 | 24.2181
|  | 28 | 884.19 | 22.5954
|  | 29 | 892.3 | 22.3925
|  | 30 | 971.41 | 23.871
|  | 31 | 1187.24 | 22.4051
|  | 32 | 1200.73 | 24.838
|  | 33 | 1166.35 | 31.5397
|  | 34 | 1108.06 | 27.9261
|  | 35 | 1016.32 | 29.7446
|  | 36 | 901.5 | 30.0702
|  | 37 | 889.77 | 24.2709
|  | 38 | 983.41 | 21.8518
|  | 39 | 1067.41 | 20.7069
|  | 40 | 1112.9 | 18.0555
|  | 41 | 1381.99 | 21.4971
|  | 42 | 1376.37 | 23.0871
|  | 43 | 1549.24 | 26.4579
|  | 44 | 1625.76 | 26.48
|  | 45 | 1625.89 | 24.89
|  | 46 | 1481.06 | 22.9191
|  | 47 | 1307.65 | 22.5869
|  | 48 | 1131.09 | 22.8421
|  | 49 | 954.75 | 21.3514
|  | 50 | 886.5 | 20.6614
|  | 51 | 812.82 | 18.2676
|  | 52 | 796.52 | 17.6468
|  | 53 | 822.33 | 17.9153
|  | 54 | 950.03 | 20.2982
|  | 55 | 1168.56 | 21.2621
|  | 56 | 1335.39 | 25.2309
|  | 57 | 1366.79 | 30.5206
|  | 58 | 1323.52 | 24.4363
|  | 59 | 1318.19 | 16.4292
|  | 60 | 1249.73 | 16.3169
|  | 61 | 1282.18 | 17.8803
|  | 62 | 1324.23 | 15.5643
|  | 63 | 1360.78 | 14.1907
|  | 64 | 1398.02 | 16.3705
|  | 65 | 1414.68 | 20.6519
|  | 66 | 1548.95 | 24.9527
|  | 67 | 1676.58 | 28.2134
|  | 68 | 1715.82 | 28.437
|  | 69 | 1623.18 | 27.3917
|  | 70 | 1477.69 | 25.9163
|  | 71 | 1316.08 | 27.5411
|  | 72 | 1104.96 | 26.3857
|  | 73 | 841.63 | 22.8218
|  | 74 | 777.23 | 23.3116
|  | 75 | 731.84 | 23.9078
|  | 76 | 728.83 | 25.2326
|  | 77 | 672.74 | 21.9193
|  | 78 | 886.48 | 16.6691
|  | 79 | 1067.97 | 16.041
|  | 80 | 1194.14 | 20.1656
|  | 81 | 1295.7 | 26.7342
|  | 82 | 1295.33 | 25.7978
|  | 83 | 1245.04 | 27.6458
|  | 84 | 1259.51 | 19.9079
|  | 85 | 1272.32 | 22.6198
|  | 86 | 1288.56 | 26.2727
|  | 87 | 1341.18 | 29.9698
|  | 88 | 1280.99 | 25.5396
|  | 89 | 1482.49 | 21.7122
|  | 90 | 1597.37 | 23.9491
|  | 91 | 1679.32 | 28.9036
|  | 92 | 1671.82 | 29.1967
|  | 93 | 1638.11 | 28.6222
|  | 94 | 1524.34 | 29.7143
|  | 95 | 1371.86 | 26.2885
|  | 96 | 1190.37 | 18.6039
|  | 97 | 912.87 | 19.8449
|  | 98 | 829.51 | 17.721
|  | 99 | 782.94 | 16.5502
|  | 100 | 761.56 | 14.4554
|  | 101 | 777.96 | 14.6982
|  | 102 | 836.8 | 17.5593
|  | 103 | 971.09 | 22.8372
|  | 104 | 1161.84 | 24.4832
|  | 105 | 1209.72 | 21.1659
|  | 106 | 1204.19 | 20.7197
|  | 107 | 1066.77 | 21.9616
|  | 108 | 1050.58 | 21.9799
|  | 109 | 1032.61 | 20.1587
|  | 110 | 1106.35 | 20.0502
|  | 111 | 1157.19 | 20.9145
|  | 112 | 1168.8 | 25.7258
|  | 113 | 1336.79 | 20.2866
|  | 114 | 1430.7 | 21.6861
|  | 115 | 1580.23 | 29.7618
|  | 116 | 1600.01 | 33.1638
|  | 117 | 1581.95 | 29.0015
|  | 118 | 1476.24 | 28.5158
|  | 119 | 1272.14 | 28.3898
|  | 120 | 1112.36 | 26.965
|  | 121 | 928.7 | 24.5987
|  | 122 | 857 | 22.4692
|  | 123 | 795.87 | 21.6845
|  | 124 | 789.06 | 20.8549
|  | 125 | 810.96 | 26.912
|  | 126 | 943.18 | 26.3783
|  | 127 | 1086.15 | 30.5247
|  | 128 | 1281.09 | 37.9382
|  | 129 | 1266.9 | 45.6708
|  | 130 | 1035.04 | 58.7424
|  | 131 | 1046.66 | 38.9084
|  | 132 | 1086.2 | 39.1538
|  | 133 | 988.5 | 40.7893
|  | 134 | 996.7 | 41.283
|  | 135 | 1070.68 | 38.8373
|  | 136 | 1090.32 | 30.875
|  | 137 | 1197.34 | 23.8477
|  | 138 | 1303.2 | 23.6122
|  | 139 | 1464.59 | 30.581
|  | 140 | 1477.3 | 30.5168
|  | 141 | 1484.14 | 29.0515
|  | 142 | 1382.64 | 26.7667
|  | 143 | 1147.04 | 19.1582
|  | 144 | 896.89 | 14.4891
|  | 145 | 826.18 | 11.7609
|  | 146 | 786.03 | 11.7632
|  | 147 | 761.87 | 13.0309
|  | 148 | 759.24 | 12.8667
|  | 149 | 836.55 | 14.7941
|  | 150 | 1062.2 | 14.3823
|  | 151 | 1339.12 | 17.0582
|  | 152 | 1426.64 | 25.7573
|  | 153 | 1464.41 | 37.9201
|  | 154 | 1372.39 | 45.4846
|  | 155 | 1316.61 | 44.786
|  | 156 | 1255.83 | 42.3147
|  | 157 | 1275.76 | 42.6538
|  | 158 | 1242.76 | 38.2254
|  | 159 | 1202.93 | 35.8228
|  | 160 | 1182.68 | 36.3563
|  | 161 | 1361.27 | 30.6108
|  | 162 | 1437.61 | 30.588
|  | 163 | 1589.07 | 38.0922
|  | 164 | 1644.88 | 43.0046
|  | 165 | 1560.68 | 48.9208
|  | 166 | 1399.76 | 46.9828
|  | 167 | 1185.52 | 43.1015
|  | 168 | 888.18 | 37.2469
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 30.03.2026 | 31.03.2026 | 02.04.2026 | 02.04.2026 | 03.04.2026 | 04.04.2026 | 05.04.2026
Min (MW) | 14.7826 | 18.0555 | 14.1907 | 16.041 | 14.4554 | 14.4891 | 11.7609
Max (MW) | 25.6201 | 31.5397 | 30.5206 | 29.9698 | 33.1638 | 58.7424 | 48.9208
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible