## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-04-19
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17073.31 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 13.04.2026 | 14.04.2026 | 15.04.2026 | 16.04.2026 | 17.04.2026 | 18.04.2026 | 19.04.2026
Min (MW) | 535.7418 | 531.9578 | 527.2274 | 516.6109 | 544.0175 | 547.9291 | 535.7331
Max (MW) | 1166.0522 | 1114.7533 | 1132.4767 | 1162.6524 | 1133.036 | 1196 | 1060.5353
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2026
|  | Java | Min (MW) | Max (MW)
|  | 1 | 537 | 1377
|  | 2 | 521 | 1460
|  | 3 | 539 | 1543
|  | 4 | 513 | 1433
|  | 5 | 500 | 1312
|  | 6 | 506 | 1396
|  | 7 | 532 | 1499
|  | 8 | 503 | 1542
|  | 9 | 532 | 1474
|  | 10 | 557 | 1382
|  | 11 | 500 | 1259
|  | 12 | 500 | 1358
|  | 13 | 533 | 1253
|  | 14 | 400 | 1171
|  | 15 | 502 | 1390
|  | 16 | 481 | 1146
|  | 17 | 474 | 1011
|  | 18 | 500 | 917
|  | 19 | 512 | 947
|  | 20 | 481 | 981
|  | 21 | 476 | 974
|  | 22 | 470 | 966
|  | 23 | 489 | 985
|  | 24 | 521 | 1093
|  | 25 | 565 | 1105
|  | 26 | 561 | 1204
|  | 27 | 615 | 1214
|  | 28 | 572 | 1251
|  | 29 | 574 | 1210
|  | 30 | 618 | 1355
|  | 31 | 618 | 1179
|  | 32 | 602 | 1279
|  | 33 | 658 | 1446
|  | 34 | 627 | 1271
|  | 35 | 572 | 1147
|  | 36 | 511 | 1089
|  | 37 | 557 | 1113
|  | 38 | 538 | 1113
|  | 39 | 532 | 1077
|  | 40 | 488 | 1202
|  | 41 | 481 | 1190
|  | 42 | 506 | 1157
|  | 43 | 513 | 1162
|  | 44 | 448 | 1154
|  | 45 | 466 | 1143
|  | 46 | 496 | 1229
|  | 47 | 498 | 1249
|  | 48 | 522 | 1375
|  | 49 | 532 | 1408
|  | 50 | 543 | 1457
|  | 51 | 599 | 1591
|  | 52 | 602 | 1571
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-04-17
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 698.1034 | 74.6392 | 623.4642
|  | 2 | 641.5938 | 74.4234 | 567.1704
|  | 3 | 628.2006 | 89.6564 | 538.5443
|  | 4 | 607.0844 | 78.8893 | 528.1951
|  | 5 | 610.7143 | 78.0207 | 532.6937
|  | 6 | 685.0944 | 100.5932 | 584.5012
|  | 7 | 926.6122 | 224.9325 | 701.6797
|  | 8 | 1114.786 | 260.0173 | 854.7687
|  | 9 | 1077.0039 | 194.1545 | 882.8494
|  | 10 | 999.0712 | 187.4474 | 811.6237
|  | 11 | 866.4931 | 98.6914 | 767.8017
|  | 12 | 826.6701 | 82.0911 | 744.579
|  | 13 | 793.1051 | 62.5539 | 730.5513
|  | 14 | 827.9047 | 93.641 | 734.2638
|  | 15 | 830.2009 | 91.1485 | 739.0524
|  | 16 | 792.4287 | 39.3707 | 753.058
|  | 17 | 745.4323 | -25.4124 | 770.8447
|  | 18 | 907.0144 | 78.3999 | 828.6145
|  | 19 | 1054.9508 | 175.2419 | 879.7089
|  | 20 | 1094.3637 | 136.9452 | 957.4185
|  | 21 | 1167.3988 | 166.0676 | 1001.3312
|  | 22 | 1145.7846 | 206.1893 | 939.5954
|  | 23 | 991.6999 | 154.2645 | 837.4354
|  | 24 | 741.0461 | 17.3243 | 723.7217
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 27/04/2026 | 28/04/2026 |  |  | Remont
| Koplik - Podgorica1 | 29/10/2026 | 30/10/2026 |  |  | Remont
| Tirana2 - Podgorica2 | 18/05/2026 | 22/05/2026 |  |  | Remont
| Prizren - Fierza | 25/05/2026 | 26/05/2026 |  |  | Remont
| Prizren - Fierza | 14/10/2026 | 16/10/2026 |  |  | Remont
| Bistrica - Myrtos | 29/09/2026 | 30/09/2026 |  |  | Remont
| Zemblak - Kardia | 29/09/2026 | 30/09/2026 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -47.9152 | 12.2106 | 10.5788 | -152.7935 | 129.6691 | 32.8031
2 | -38.8707 | -16.5011 | 28.4772 | -202.9483 | 142.3968 | 49.651
3 | -39.5592 | -33.484 | 39.7777 | -236.4849 | 157.2641 | 57.2105
4 | -42.4514 | -30.9314 | 39.1784 | -209.1802 | 116.2963 | 60.4632
5 | -40.3019 | -32.0711 | 34.2103 | -208.0964 | 109.8532 | 60.3471
6 | -39.5711 | -15.7765 | 29.0601 | -176.3597 | 120.8955 | 60.9613
7 | -48.3279 | -17.2072 | 44.5578 | -194.1005 | 143.9128 | 60.9767
8 | -64.3178 | -20.5218 | 61.2664 | -245.3779 | 209.7661 | 52.0173
9 | -36.3548 | -24.3248 | 72.0589 | -286.6397 | 172.7685 | 54.5901
10 | 0 | -17.8231 | 73.4948 | -295.9488 | 183.1845 | 62.3857
11 | -46.2612 | 18.0722 | 42.1135 | -163.3895 | 98.1819 | 74.6636
12 | -50.9912 | 22.8324 | 30.5475 | -132.4528 | 55.3056 | 79.4685
13 | -35.4439 | 24.2041 | 8.5919 | -102.6418 | 22.0443 | 79.2478
14 | -27.6217 | 26.2124 | -10.1797 | -79.7981 | -7.2952 | 77.6131
15 | -36.3942 | 9.4381 | 23.2138 | -135.8365 | 39.5862 | 79.8504
16 | -30.4606 | 12.3689 | 32.4302 | -139.504 | 71.0895 | 84.8655
17 | -49.3543 | -7.3099 | 46.7144 | -224.7372 | 106.7835 | 81.2877
18 | -11.9675 | 24.5582 | -5.1023 | -128.6015 | 37.6212 | 67.126
19 | -0.34716 | 66.7416 | -25.4006 | -71.747 | 59.0554 | 58.2892
20 | -19.0885 | 103.9838 | -24.6115 | -36.1364 | 74.9146 | 49.3736
21 | -35.9167 | 105.865 | -11.0805 | -60.5445 | 99.6388 | 45.3016
22 | -36.3577 | 86.3537 | -27.9261 | -68.8633 | 74.549 | 52.3696
23 | -35.4014 | 73.5165 | -15.1868 | -76.5919 | 82.3523 | 58.6853
24 | -30.6549 | 38.6529 | -27.5043 | -110.1252 | 53.7842 | 65.3416
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-04-19
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 665.53
|  |  | 01:00 - 02:00 | 592.88
|  |  | 02:00 - 03:00 | 531.32
|  |  | 03:00 - 04:00 | 495.32
|  |  | 04:00 - 05:00 | 494.14
|  |  | 05:00 - 06:00 | 535.56
|  |  | 06:00 - 07:00 | 620.87
|  |  | 07:00 - 08:00 | 733.2
|  |  | 08:00 - 09:00 | 747.31
|  |  | 09:00 - 10:00 | 789.16
|  |  | 10:00 - 11:00 | 764.71
|  |  | 11:00 - 12:00 | 715.04
|  |  | 12:00 - 13:00 | 693.43
|  |  | 13:00 - 14:00 | 636.38
|  |  | 14:00 - 15:00 | 661.94
|  |  | 15:00 - 16:00 | 627.46
|  |  | 16:00 - 17:00 | 675.18
|  |  | 17:00 - 18:00 | 764.85
|  |  | 18:00 - 19:00 | 863.73
|  |  | 19:00 - 20:00 | 1133.44
|  |  | 20:00 - 21:00 | 1180.5
|  |  | 21:00 - 22:00 | 1072.14
|  |  | 22:00 - 23:00 | 1007.74
|  |  | 23:00 - 00:00 | 770.93
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115.3535
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 29.7556 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 111.0631 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 107.3205 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0.75115 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 2.5093 | 0 | 0
18 | 0 | 4.8009 | 0 | 0 | 2.0835 | 132.225 | 0 | 0
19 | 3.115 | 110.2551 | 0 | 0 | 38.7314 | 123.9603 | 0 | 88.709
20 | 99.8772 | 100.4678 | 0 | 0 | 101.0693 | 115.9925 | 0 | 113.9467
21 | 109.9956 | 110.4192 | 0 | 0 | 106.9043 | 118.0728 | 0 | 114.0567
22 | 50.3607 | 100.3427 | 0 | 0 | 99.9967 | 106.5999 | 0 | 110.0082
23 | 0 | 99.2392 | 0 | 0 | 69.2945 | 126.851 | 0 | 118.1644
24 | 0 | 0 | 0 | 0 | 0 | 115.7548 | 0 | 111.3572
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 263.3485 | 525.5249 | 0 | 0 | 418.0797 | 1090.8559 | 0 | 771.5957
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 3042 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1357 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 771.44 | 16.0867
|  | 2 | 656.84 | 12.4321
|  | 3 | 569.89 | 11.7292
|  | 4 | 536.73 | 11.0007
|  | 5 | 552.53 | 10.951
|  | 6 | 691.03 | 13.7186
|  | 7 | 917.6 | 16.1449
|  | 8 | 1178.09 | 21.6093
|  | 9 | 1013.62 | 23.6533
|  | 10 | 949.23 | 26.9589
|  | 11 | 851.49 | 29.3453
|  | 12 | 798.47 | 27.8654
|  | 13 | 813.26 | 23.3788
|  | 14 | 826.42 | 21.8489
|  | 15 | 816.71 | 23.6835
|  | 16 | 810.1 | 24.2087
|  | 17 | 828.63 | 23.8038
|  | 18 | 931.71 | 24.3817
|  | 19 | 1187.59 | 25.6958
|  | 20 | 1304.79 | 27.5949
|  | 21 | 1399.55 | 30.3157
|  | 22 | 1368.71 | 26.7632
|  | 23 | 1202.39 | 23.6663
|  | 24 | 1022.55 | 22.3465
|  | 25 | 721.29 | 19.7011
|  | 26 | 610.96 | 16.12
|  | 27 | 571.26 | 15.8118
|  | 28 | 561.3 | 15.111
|  | 29 | 566.81 | 15.3943
|  | 30 | 663.64 | 16.7394
|  | 31 | 880.81 | 17.6727
|  | 32 | 1108.28 | 19.8584
|  | 33 | 1094.6 | 22.6
|  | 34 | 999.63 | 22.6619
|  | 35 | 905.59 | 25.3693
|  | 36 | 783.15 | 27.3631
|  | 37 | 701.66 | 25.8039
|  | 38 | 730.83 | 24.5961
|  | 39 | 762.94 | 23.1294
|  | 40 | 804.15 | 23.5924
|  | 41 | 892 | 25.3168
|  | 42 | 956.88 | 27.0553
|  | 43 | 1230.68 | 28.4598
|  | 44 | 1308.39 | 31.2779
|  | 45 | 1330.73 | 31.6106
|  | 46 | 1368.64 | 29.7795
|  | 47 | 1202.67 | 24.1043
|  | 48 | 1062.2 | 19.8701
|  | 49 | 702.26 | 15.5293
|  | 50 | 581.54 | 13.8352
|  | 51 | 559.86 | 12.7366
|  | 52 | 535.59 | 13.0385
|  | 53 | 544.06 | 13.3757
|  | 54 | 652.25 | 15.8129
|  | 55 | 900.55 | 22.3413
|  | 56 | 1100.36 | 26.2955
|  | 57 | 1131.46 | 23.5223
|  | 58 | 1089.98 | 22.7613
|  | 59 | 1073.06 | 23.8256
|  | 60 | 959.98 | 20.6384
|  | 61 | 887.72 | 22.4145
|  | 62 | 890.15 | 21.8115
|  | 63 | 935.16 | 22.4493
|  | 64 | 943.66 | 21.2777
|  | 65 | 922.7 | 20.2143
|  | 66 | 1006.27 | 24.0231
|  | 67 | 1161.45 | 31.9903
|  | 68 | 1275.25 | 29.2825
|  | 69 | 1360.57 | 28.8488
|  | 70 | 1369.48 | 27.5654
|  | 71 | 1230.65 | 23.284
|  | 72 | 1113.44 | 17.83
|  | 73 | 700.84 | 18.1664
|  | 74 | 609.57 | 27.0575
|  | 75 | 561.44 | 25.9368
|  | 76 | 528.87 | 25.5193
|  | 77 | 531.06 | 27.9586
|  | 78 | 618.54 | 26.2407
|  | 79 | 726.03 | 23.9613
|  | 80 | 909.97 | 22.3556
|  | 81 | 1037.07 | 20.2982
|  | 82 | 1090.54 | 22.6836
|  | 83 | 1234.31 | 22.9019
|  | 84 | 1092.7 | 21.596
|  | 85 | 1007.54 | 22.0627
|  | 86 | 1018.24 | 18.4139
|  | 87 | 849.19 | 18.5463
|  | 88 | 857.66 | 13.7798
|  | 89 | 881.42 | 12.9322
|  | 90 | 1012.85 | 19.2681
|  | 91 | 1073.84 | 25.2771
|  | 92 | 1218.12 | 23.2513
|  | 93 | 1248.73 | 23.8987
|  | 94 | 1235.09 | 24.5652
|  | 95 | 1081.06 | 23.5734
|  | 96 | 917.75 | 18.1635
|  | 97 | 714.71 | 13.5324
|  | 98 | 637.11 | 12.6658
|  | 99 | 572.17 | 11.5425
|  | 100 | 536.34 | 11.1274
|  | 101 | 535.91 | 10.8658
|  | 102 | 564.04 | 11.0998
|  | 103 | 647.65 | 13.3152
|  | 104 | 792.9 | 16.6313
|  | 105 | 845.75 | 16.2904
|  | 106 | 853.03 | 19.4243
|  | 107 | 809.97 | 16.2905
|  | 108 | 774.16 | 14.8532
|  | 109 | 740.47 | 14.7605
|  | 110 | 760.98 | 21.3279
|  | 111 | 723.33 | 21.961
|  | 112 | 746.79 | 20.5787
|  | 113 | 842.5 | 20.9235
|  | 114 | 949.88 | 15.6614
|  | 115 | 995.04 | 21.4087
|  | 116 | 1118.78 | 23.0331
|  | 117 | 1200.77 | 21.9065
|  | 118 | 1155.12 | 21.6416
|  | 119 | 1020.22 | 19.2647
|  | 120 | 841.49 | 20.321
|  | 121 | 625.41 | 20.1959
|  | 122 | 563.86 | 19.0321
|  | 123 | 498.89 | 16.1964
|  | 124 | 482.32 | 17.6754
|  | 125 | 481 | 19.124
|  | 126 | 584.85 | 21.6167
|  | 127 | 751.88 | 20.9259
|  | 128 | 937.23 | 14.7869
|  | 129 | 1009.97 | 13.8946
|  | 130 | 1068.31 | 15.9767
|  | 131 | 999.17 | 16.7258
|  | 132 | 948.76 | 19.3135
|  | 133 | 884.43 | 20.8461
|  | 134 | 870.62 | 24.0179
|  | 135 | 969.49 | 22.0873
|  | 136 | 869.64 | 21.0323
|  | 137 | 841.42 | 17.1819
|  | 138 | 863.31 | 18.8279
|  | 139 | 1119.21 | 19.0416
|  | 140 | 1287.47 | 22.391
|  | 141 | 1362.15 | 25.8137
|  | 142 | 1269.08 | 26.3965
|  | 143 | 1068.54 | 21.5195
|  | 144 | 884.44 | 20.194
|  | 145 | 602.46 | 11.4242
|  | 146 | 528.68 | 13.267
|  | 147 | 488.54 | 12.1143
|  | 148 | 466.3 | 11.8276
|  | 149 | 472.66 | 12.3085
|  | 150 | 577.98 | 11.5967
|  | 151 | 770.25 | 16.7704
|  | 152 | 966.69 | 16.6816
|  | 153 | 978.84 | 24.6295
|  | 154 | 1004.42 | 28.374
|  | 155 | 959.81 | 34.0409
|  | 156 | 899.04 | 26.4025
|  | 157 | 843.95 | 20.2961
|  | 158 | 861.58 | 18.7639
|  | 159 | 853.22 | 18.7176
|  | 160 | 867.81 | 16.7454
|  | 161 | 908.15 | 21.2186
|  | 162 | 905.42 | 15.9282
|  | 163 | 1148.78 | 17.7946
|  | 164 | 1294.28 | 20.6051
|  | 165 | 1407.43 | 24.2704
|  | 166 | 1332.35 | 25.2131
|  | 167 | 1159.58 | 21.0094
|  | 168 | 975.25 | 17.5394
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 13.04.2026 | 14.04.2026 | 15.04.2026 | 16.04.2026 | 17.04.2026 | 18.04.2026 | 19.04.2026
Min (MW) | 10.951 | 15.111 | 12.7366 | 12.9322 | 10.8658 | 13.8946 | 11.4242
Max (MW) | 30.3157 | 31.6106 | 31.9903 | 27.9586 | 23.0331 | 26.3965 | 34.0409
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-04-19
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17073.31 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
#VALUE! | 13.04.2026 | 14.04.2026 | 15.04.2026 | 16.04.2026 | 17.04.2026 | 18.04.2026 | 19.04.2026
Min (MW) | 535.7418 | 531.9578 | 527.2274 | 516.6109 | 544.0175 | 547.9291 | 535.7331
Max (MW) | 1166.0522 | 1114.7533 | 1132.4767 | 1162.6524 | 1133.036 | 1196 | 1060.5353
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 537 | 1377
|  | 2 | 521 | 1460
|  | 3 | 539 | 1543
|  | 4 | 513 | 1433
|  | 5 | 500 | 1312
|  | 6 | 506 | 1396
|  | 7 | 532 | 1499
|  | 8 | 503 | 1542
|  | 9 | 532 | 1474
|  | 10 | 557 | 1382
|  | 11 | 500 | 1259
|  | 12 | 500 | 1358
|  | 13 | 533 | 1253
|  | 14 | 400 | 1171
|  | 15 | 502 | 1390
|  | 16 | 481 | 1146
|  | 17 | 474 | 1011
|  | 18 | 500 | 917
|  | 19 | 512 | 947
|  | 20 | 481 | 981
|  | 21 | 476 | 974
|  | 22 | 470 | 966
|  | 23 | 489 | 985
|  | 24 | 521 | 1093
|  | 25 | 565 | 1105
|  | 26 | 561 | 1204
|  | 27 | 615 | 1214
|  | 28 | 572 | 1251
|  | 29 | 574 | 1210
|  | 30 | 618 | 1355
|  | 31 | 618 | 1179
|  | 32 | 602 | 1279
|  | 33 | 658 | 1446
|  | 34 | 627 | 1271
|  | 35 | 572 | 1147
|  | 36 | 511 | 1089
|  | 37 | 557 | 1113
|  | 38 | 538 | 1113
|  | 39 | 532 | 1077
|  | 40 | 488 | 1202
|  | 41 | 481 | 1190
|  | 42 | 506 | 1157
|  | 43 | 513 | 1162
|  | 44 | 448 | 1154
|  | 45 | 466 | 1143
|  | 46 | 496 | 1229
|  | 47 | 498 | 1249
|  | 48 | 522 | 1375
|  | 49 | 532 | 1408
|  | 50 | 543 | 1457
|  | 51 | 599 | 1591
|  | 52 | 602 | 1571
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-04-17
|  | Hour | Production | Exchange | Consumption
|  | 1 | 698.1034 | 74.6392 | 623.4642
|  | 2 | 641.5938 | 74.4234 | 567.1704
|  | 3 | 628.2006 | 89.6564 | 538.5443
|  | 4 | 607.0844 | 78.8893 | 528.1951
|  | 5 | 610.7143 | 78.0207 | 532.6937
|  | 6 | 685.0944 | 100.5932 | 584.5012
|  | 7 | 926.6122 | 224.9325 | 701.6797
|  | 8 | 1114.786 | 260.0173 | 854.7687
|  | 9 | 1077.0039 | 194.1545 | 882.8494
|  | 10 | 999.0712 | 187.4474 | 811.6237
|  | 11 | 866.4931 | 98.6914 | 767.8017
|  | 12 | 826.6701 | 82.0911 | 744.579
|  | 13 | 793.1051 | 62.5539 | 730.5513
|  | 14 | 827.9047 | 93.641 | 734.2638
|  | 15 | 830.2009 | 91.1485 | 739.0524
|  | 16 | 792.4287 | 39.3707 | 753.058
|  | 17 | 745.4323 | -25.4124 | 770.8447
|  | 18 | 907.0144 | 78.3999 | 828.6145
|  | 19 | 1054.9508 | 175.2419 | 879.7089
|  | 20 | 1094.3637 | 136.9452 | 957.4185
|  | 21 | 1167.3988 | 166.0676 | 1001.3312
|  | 22 | 1145.7846 | 206.1893 | 939.5954
|  | 23 | 991.6999 | 154.2645 | 837.4354
|  | 24 | 741.0461 | 17.3243 | 723.7217
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| 0 | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 27/04/2026 | 28/04/2026 |  |  | Maintenance
| Koplik - Podgorica1 | 29/10/2026 | 30/10/2026 |  |  | Maintenance
| Tirana2 - Podgorica2 | 18/05/2026 | 22/05/2026 |  |  | Maintenance
| Prizren - Fierza | 25/05/2026 | 26/05/2026 |  |  | Maintenance
| Prizren - Fierza | 14/10/2026 | 16/10/2026 |  |  | Maintenance
| Bistrica - Myrtos | 29/09/2026 | 30/09/2026 |  |  | Maintenance
| Zemblak - Kardia | 29/09/2026 | 30/09/2026 |  |  | Maintenance
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -47.9152 | 12.2106 | 10.5788 | -152.7935 | 129.6691 | 32.8031
2 | -38.8707 | -16.5011 | 28.4772 | -202.9483 | 142.3968 | 49.651
3 | -39.5592 | -33.484 | 39.7777 | -236.4849 | 157.2641 | 57.2105
4 | -42.4514 | -30.9314 | 39.1784 | -209.1802 | 116.2963 | 60.4632
5 | -40.3019 | -32.0711 | 34.2103 | -208.0964 | 109.8532 | 60.3471
6 | -39.5711 | -15.7765 | 29.0601 | -176.3597 | 120.8955 | 60.9613
7 | -48.3279 | -17.2072 | 44.5578 | -194.1005 | 143.9128 | 60.9767
8 | -64.3178 | -20.5218 | 61.2664 | -245.3779 | 209.7661 | 52.0173
9 | -36.3548 | -24.3248 | 72.0589 | -286.6397 | 172.7685 | 54.5901
10 | 0 | -17.8231 | 73.4948 | -295.9488 | 183.1845 | 62.3857
11 | -46.2612 | 18.0722 | 42.1135 | -163.3895 | 98.1819 | 74.6636
12 | -50.9912 | 22.8324 | 30.5475 | -132.4528 | 55.3056 | 79.4685
13 | -35.4439 | 24.2041 | 8.5919 | -102.6418 | 22.0443 | 79.2478
14 | -27.6217 | 26.2124 | -10.1797 | -79.7981 | -7.2952 | 77.6131
15 | -36.3942 | 9.4381 | 23.2138 | -135.8365 | 39.5862 | 79.8504
16 | -30.4606 | 12.3689 | 32.4302 | -139.504 | 71.0895 | 84.8655
17 | -49.3543 | -7.3099 | 46.7144 | -224.7372 | 106.7835 | 81.2877
18 | -11.9675 | 24.5582 | -5.1023 | -128.6015 | 37.6212 | 67.126
19 | -0.34716 | 66.7416 | -25.4006 | -71.747 | 59.0554 | 58.2892
20 | -19.0885 | 103.9838 | -24.6115 | -36.1364 | 74.9146 | 49.3736
21 | -35.9167 | 105.865 | -11.0805 | -60.5445 | 99.6388 | 45.3016
22 | -36.3577 | 86.3537 | -27.9261 | -68.8633 | 74.549 | 52.3696
23 | -35.4014 | 73.5165 | -15.1868 | -76.5919 | 82.3523 | 58.6853
24 | -30.6549 | 38.6529 | -27.5043 | -110.1252 | 53.7842 | 65.3416
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-04-19
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 665.53
|  |  | 01:00 - 02:00 | 592.88
|  |  | 02:00 - 03:00 | 531.32
|  |  | 03:00 - 04:00 | 495.32
|  |  | 04:00 - 05:00 | 494.14
|  |  | 05:00 - 06:00 | 535.56
|  |  | 06:00 - 07:00 | 620.87
|  |  | 07:00 - 08:00 | 733.2
|  |  | 08:00 - 09:00 | 747.31
|  |  | 09:00 - 10:00 | 789.16
|  |  | 10:00 - 11:00 | 764.71
|  |  | 11:00 - 12:00 | 715.04
|  |  | 12:00 - 13:00 | 693.43
|  |  | 13:00 - 14:00 | 636.38
|  |  | 14:00 - 15:00 | 661.94
|  |  | 15:00 - 16:00 | 627.46
|  |  | 16:00 - 17:00 | 675.18
|  |  | 17:00 - 18:00 | 764.85
|  |  | 18:00 - 19:00 | 863.73
|  |  | 19:00 - 20:00 | 1133.44
|  |  | 20:00 - 21:00 | 1180.5
|  |  | 21:00 - 22:00 | 1072.14
|  |  | 22:00 - 23:00 | 1007.74
|  |  | 23:00 - 00:00 | 770.93
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115.3535
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 29.7556 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 111.0631 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 107.3205 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0.75115 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 2.5093 | 0 | 0
18 | 0 | 4.8009 | 0 | 0 | 2.0835 | 132.225 | 0 | 0
19 | 3.115 | 110.2551 | 0 | 0 | 38.7314 | 123.9603 | 0 | 88.709
20 | 99.8772 | 100.4678 | 0 | 0 | 101.0693 | 115.9925 | 0 | 113.9467
21 | 109.9956 | 110.4192 | 0 | 0 | 106.9043 | 118.0728 | 0 | 114.0567
22 | 50.3607 | 100.3427 | 0 | 0 | 99.9967 | 106.5999 | 0 | 110.0082
23 | 0 | 99.2392 | 0 | 0 | 69.2945 | 126.851 | 0 | 118.1644
24 | 0 | 0 | 0 | 0 | 0 | 115.7548 | 0 | 111.3572
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 263.3485 | 525.5249 | 0 | 0 | 418.0797 | 1090.8559 | 0 | 656.2421
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 3042 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1357 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 771.44 | 16.0867
|  | 2 | 656.84 | 12.4321
|  | 3 | 569.89 | 11.7292
|  | 4 | 536.73 | 11.0007
|  | 5 | 552.53 | 10.951
|  | 6 | 691.03 | 13.7186
|  | 7 | 917.6 | 16.1449
|  | 8 | 1178.09 | 21.6093
|  | 9 | 1013.62 | 23.6533
|  | 10 | 949.23 | 26.9589
|  | 11 | 851.49 | 29.3453
|  | 12 | 798.47 | 27.8654
|  | 13 | 813.26 | 23.3788
|  | 14 | 826.42 | 21.8489
|  | 15 | 816.71 | 23.6835
|  | 16 | 810.1 | 24.2087
|  | 17 | 828.63 | 23.8038
|  | 18 | 931.71 | 24.3817
|  | 19 | 1187.59 | 25.6958
|  | 20 | 1304.79 | 27.5949
|  | 21 | 1399.55 | 30.3157
|  | 22 | 1368.71 | 26.7632
|  | 23 | 1202.39 | 23.6663
|  | 24 | 1022.55 | 22.3465
|  | 25 | 721.29 | 19.7011
|  | 26 | 610.96 | 16.12
|  | 27 | 571.26 | 15.8118
|  | 28 | 561.3 | 15.111
|  | 29 | 566.81 | 15.3943
|  | 30 | 663.64 | 16.7394
|  | 31 | 880.81 | 17.6727
|  | 32 | 1108.28 | 19.8584
|  | 33 | 1094.6 | 22.6
|  | 34 | 999.63 | 22.6619
|  | 35 | 905.59 | 25.3693
|  | 36 | 783.15 | 27.3631
|  | 37 | 701.66 | 25.8039
|  | 38 | 730.83 | 24.5961
|  | 39 | 762.94 | 23.1294
|  | 40 | 804.15 | 23.5924
|  | 41 | 892 | 25.3168
|  | 42 | 956.88 | 27.0553
|  | 43 | 1230.68 | 28.4598
|  | 44 | 1308.39 | 31.2779
|  | 45 | 1330.73 | 31.6106
|  | 46 | 1368.64 | 29.7795
|  | 47 | 1202.67 | 24.1043
|  | 48 | 1062.2 | 19.8701
|  | 49 | 702.26 | 15.5293
|  | 50 | 581.54 | 13.8352
|  | 51 | 559.86 | 12.7366
|  | 52 | 535.59 | 13.0385
|  | 53 | 544.06 | 13.3757
|  | 54 | 652.25 | 15.8129
|  | 55 | 900.55 | 22.3413
|  | 56 | 1100.36 | 26.2955
|  | 57 | 1131.46 | 23.5223
|  | 58 | 1089.98 | 22.7613
|  | 59 | 1073.06 | 23.8256
|  | 60 | 959.98 | 20.6384
|  | 61 | 887.72 | 22.4145
|  | 62 | 890.15 | 21.8115
|  | 63 | 935.16 | 22.4493
|  | 64 | 943.66 | 21.2777
|  | 65 | 922.7 | 20.2143
|  | 66 | 1006.27 | 24.0231
|  | 67 | 1161.45 | 31.9903
|  | 68 | 1275.25 | 29.2825
|  | 69 | 1360.57 | 28.8488
|  | 70 | 1369.48 | 27.5654
|  | 71 | 1230.65 | 23.284
|  | 72 | 1113.44 | 17.83
|  | 73 | 700.84 | 18.1664
|  | 74 | 609.57 | 27.0575
|  | 75 | 561.44 | 25.9368
|  | 76 | 528.87 | 25.5193
|  | 77 | 531.06 | 27.9586
|  | 78 | 618.54 | 26.2407
|  | 79 | 726.03 | 23.9613
|  | 80 | 909.97 | 22.3556
|  | 81 | 1037.07 | 20.2982
|  | 82 | 1090.54 | 22.6836
|  | 83 | 1234.31 | 22.9019
|  | 84 | 1092.7 | 21.596
|  | 85 | 1007.54 | 22.0627
|  | 86 | 1018.24 | 18.4139
|  | 87 | 849.19 | 18.5463
|  | 88 | 857.66 | 13.7798
|  | 89 | 881.42 | 12.9322
|  | 90 | 1012.85 | 19.2681
|  | 91 | 1073.84 | 25.2771
|  | 92 | 1218.12 | 23.2513
|  | 93 | 1248.73 | 23.8987
|  | 94 | 1235.09 | 24.5652
|  | 95 | 1081.06 | 23.5734
|  | 96 | 917.75 | 18.1635
|  | 97 | 714.71 | 13.5324
|  | 98 | 637.11 | 12.6658
|  | 99 | 572.17 | 11.5425
|  | 100 | 536.34 | 11.1274
|  | 101 | 535.91 | 10.8658
|  | 102 | 564.04 | 11.0998
|  | 103 | 647.65 | 13.3152
|  | 104 | 792.9 | 16.6313
|  | 105 | 845.75 | 16.2904
|  | 106 | 853.03 | 19.4243
|  | 107 | 809.97 | 16.2905
|  | 108 | 774.16 | 14.8532
|  | 109 | 740.47 | 14.7605
|  | 110 | 760.98 | 21.3279
|  | 111 | 723.33 | 21.961
|  | 112 | 746.79 | 20.5787
|  | 113 | 842.5 | 20.9235
|  | 114 | 949.88 | 15.6614
|  | 115 | 995.04 | 21.4087
|  | 116 | 1118.78 | 23.0331
|  | 117 | 1200.77 | 21.9065
|  | 118 | 1155.12 | 21.6416
|  | 119 | 1020.22 | 19.2647
|  | 120 | 841.49 | 20.321
|  | 121 | 625.41 | 20.1959
|  | 122 | 563.86 | 19.0321
|  | 123 | 498.89 | 16.1964
|  | 124 | 482.32 | 17.6754
|  | 125 | 481 | 19.124
|  | 126 | 584.85 | 21.6167
|  | 127 | 751.88 | 20.9259
|  | 128 | 937.23 | 14.7869
|  | 129 | 1009.97 | 13.8946
|  | 130 | 1068.31 | 15.9767
|  | 131 | 999.17 | 16.7258
|  | 132 | 948.76 | 19.3135
|  | 133 | 884.43 | 20.8461
|  | 134 | 870.62 | 24.0179
|  | 135 | 969.49 | 22.0873
|  | 136 | 869.64 | 21.0323
|  | 137 | 841.42 | 17.1819
|  | 138 | 863.31 | 18.8279
|  | 139 | 1119.21 | 19.0416
|  | 140 | 1287.47 | 22.391
|  | 141 | 1362.15 | 25.8137
|  | 142 | 1269.08 | 26.3965
|  | 143 | 1068.54 | 21.5195
|  | 144 | 884.44 | 20.194
|  | 145 | 602.46 | 11.4242
|  | 146 | 528.68 | 13.267
|  | 147 | 488.54 | 12.1143
|  | 148 | 466.3 | 11.8276
|  | 149 | 472.66 | 12.3085
|  | 150 | 577.98 | 11.5967
|  | 151 | 770.25 | 16.7704
|  | 152 | 966.69 | 16.6816
|  | 153 | 978.84 | 24.6295
|  | 154 | 1004.42 | 28.374
|  | 155 | 959.81 | 34.0409
|  | 156 | 899.04 | 26.4025
|  | 157 | 843.95 | 20.2961
|  | 158 | 861.58 | 18.7639
|  | 159 | 853.22 | 18.7176
|  | 160 | 867.81 | 16.7454
|  | 161 | 908.15 | 21.2186
|  | 162 | 905.42 | 15.9282
|  | 163 | 1148.78 | 17.7946
|  | 164 | 1294.28 | 20.6051
|  | 165 | 1407.43 | 24.2704
|  | 166 | 1332.35 | 25.2131
|  | 167 | 1159.58 | 21.0094
|  | 168 | 975.25 | 17.5394
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 13.04.2026 | 14.04.2026 | 16.04.2026 | 16.04.2026 | 17.04.2026 | 18.04.2026 | 19.04.2026
Min (MW) | 10.951 | 15.111 | 12.7366 | 12.9322 | 10.8658 | 13.8946 | 11.4242
Max (MW) | 30.3157 | 31.6106 | 31.9903 | 27.9586 | 23.0331 | 26.3965 | 34.0409
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible